## Download Transaksi
Experimental Data of Practice 1: Introduction of Reactor Operation
No | Time | Power NP1000 [kW] | Power NLW2 [kW] | Safety Rod [%] | Compensation Rod [%] | Regulator Rod [%] | Reactor Tank Temp. [°C] | Reactor Tank Level [cm] | Reactor pH [-] | Fuel Element Temp. [°C] | Primary Inlet HE Tube Temp. [°C] | Primary Inlet HE Plat Temp. [°C] | Primary Outlet Temp. [°C] | Primary Flowrate [lpm] | Secondary Inlet HE Tube Temp. [°C] | Secondary Outlet HE Tube Temp. [°C] | Secondary HE Tube Flowrate [lpm] | Secondary Inlet HE Plat Temp. [°C] | Secondary Outlet HE Plat Temp. [°C] | Secondary HE Plat Flowrate [lpm] | Reactor Deck Area [MicroSv/h] | SubCritic Area [MicroSv/h] | Demineralizer Area [MicroSv/h] | Column Thermal Area [MicroSv/h] | Bulkshielding Area [MicroSv/h] | Main Control Room Area [MicroSv/h]
1 | 03/10/2025 14:59:11.788 | 0 | 7.2e-07 | 0 | 0 | 0 | 27.096 | 13.776 | 6.227 | 30.105 | 28.369 | 29.903 | 27.949 | 0 | 26.749 | 27.279 | 0 | 29.124 | 29.716 | 0 | 0 | 0.6 | 0.1 | 0 | 0.2 | 0.1
2 | 03/10/2025 14:59:13.653 | 0 | 6.7e-07 | 0 | 0 | 0 | 29.363 | 13.778 | 6.223 | 29.975 | 28.375 | 29.891 | 27.963 | 0 | 26.762 | 27.26 | 0 | 29.144 | 29.707 | 0 | 0 | 0.6 | 0.7 | 0 | 0.8 | 0.1
3 | 03/10/2025 14:59:15.339 | 0 | 7.4e-07 | 0 | 0 | 0 | 28.403 | 13.777 | 6.223 | 29.805 | 28.358 | 29.887 | 27.983 | 0 | 26.751 | 27.259 | 0 | 29.163 | 29.718 | 0 | 0 | 0.9 | 0.3 | 0 | 0.1 | 0.1
4 | 03/10/2025 14:59:16.970 | 0 | 8.4e-07 | 0 | 0 | 0 | 25.627 | 13.777 | 6.227 | 29.892 | 28.354 | 29.902 | 27.96 | 0 | 26.743 | 27.259 | 0 | 29.136 | 29.689 | 0 | 0 | 0.6 | 0.7 | 0 | 0 | 0
5 | 03/10/2025 14:59:18.602 | 0 | 8.2e-07 | 0 | 0 | 0 | 28.641 | 13.775 | 6.224 | 29.921 | 28.357 | 29.912 | 27.974 | 0 | 26.746 | 27.242 | 0 | 29.116 | 29.719 | 0 | 0 | 0.7 | 1.4 | 0.7 | 0.6 | 0
6 | 03/10/2025 14:59:20.233 | 0 | 7.7e-07 | 0 | 0 | 0 | 25.771 | 13.773 | 6.225 | 30.156 | 28.377 | 29.9 | 27.948 | 0 | 26.75 | 27.263 | 0 | 29.114 | 29.718 | 0 | 0 | 0.3 | 1.2 | 0.7 | 0.5 | 0.1
7 | 03/10/2025 14:59:21.865 | 0 | 8.2e-07 | 0 | 0 | 0 | 27.65 | 13.778 | 6.221 | 29.929 | 28.354 | 29.892 | 27.983 | 0 | 26.737 | 27.254 | 0 | 29.153 | 29.718 | 0 | 0 | 0.3 | 1.2 | 0.7 | 0.5 | 0.1
8 | 03/10/2025 14:59:23.497 | 0 | 7.8e-07 | 0 | 0 | 0 | 29.367 | 13.781 | 6.225 | 29.712 | 28.339 | 29.896 | 27.973 | 0 | 26.753 | 27.263 | 0 | 29.154 | 29.711 | 0 | 0 | 0 | 1.2 | 0.1 | 0.8 | 0.1
9 | 03/10/2025 14:59:25.129 | 0 | 7.6e-07 | 0 | 0 | 0 | 27.755 | 13.779 | 6.224 | 29.856 | 28.364 | 29.9 | 27.971 | 0 | 26.751 | 27.249 | 0 | 29.135 | 29.706 | 0 | 0 | 0 | 0.9 | 0 | 0.1 | 0.1
10 | 03/10/2025 14:59:26.760 | 0 | 8.4e-07 | 0 | 0 | 0 | 25.724 | 13.703 | 6.241 | 29.957 | 28.349 | 29.91 | 27.975 | 0 | 26.732 | 27.247 | 0 | 29.127 | 29.745 | 0 | 0 | 0.6 | 1 | 0 | 0 | 0.1
11 | 03/10/2025 14:59:28.391 | 0 | 8.2e-07 | 0 | 0 | 1 | 28.924 | 13.476 | 6.276 | 29.989 | 28.357 | 29.884 | 27.954 | 0 | 26.742 | 27.249 | 0 | 29.141 | 29.706 | 0 | 0 | 0.6 | 0.2 | 0.6 | 0 | 0.1
12 | 03/10/2025 14:59:30.023 | 0 | 7.6e-07 | 0 | 0 | 0 | 25.608 | 13.479 | 6.275 | 29.821 | 28.343 | 29.883 | 28.124 | 0 | 26.747 | 27.241 | 0 | 29.168 | 29.726 | 0 | 0 | 0.6 | 0.2 | 0.6 | 0 | 0.1
13 | 03/10/2025 14:59:31.657 | 0 | 7.9e-07 | 1 | 0 | 0 | 28.147 | 13.476 | 6.277 | 29.562 | 28.377 | 29.896 | 28.113 | 0 | 26.75 | 27.235 | 0 | 29.135 | 29.686 | 0 | 0 | 0.7 | 0.9 | 0.6 | 0.8 | 0.1
14 | 03/10/2025 14:59:33.287 | 0 | 7.9e-07 | 0 | 0 | 0 | 29.448 | 13.474 | 6.277 | 30.086 | 28.385 | 29.9 | 28.121 | 0 | 26.748 | 27.22 | 0 | 29.127 | 29.716 | 0 | 0 | 0.6 | 1.3 | 0.6 | 0.2 | 0.1
15 | 03/10/2025 14:59:34.920 | 0 | 7.5e-07 | 0 | 0 | 0 | 27.195 | 13.474 | 6.279 | 29.993 | 28.361 | 29.897 | 28.085 | 0 | 26.76 | 27.261 | 0 | 29.124 | 29.728 | 0 | 0 | 0 | 0.4 | 0.9 | 0.6 | 0.1
16 | 03/10/2025 14:59:36.553 | 0 | 7.6e-07 | 0 | 0 | 0 | 26.032 | 13.471 | 6.292 | 29.949 | 28.383 | 29.879 | 28.104 | 0 | 26.769 | 27.252 | 0 | 29.133 | 29.704 | 0 | 0 | 0.9 | 0 | 0.6 | 0.1 | 0.1
17 | 03/10/2025 14:59:38.185 | 0 | 7.7e-07 | 0 | 0 | 0 | 28.249 | 13.477 | 6.294 | 29.818 | 28.376 | 29.882 | 28.119 | 0 | 26.766 | 27.264 | 0 | 29.144 | 29.71 | 0 | 0 | 0.1 | 2.5 | 0.6 | 0 | 0.1
18 | 03/10/2025 14:59:39.817 | 0 | 7.1e-07 | 0 | 0 | 0 | 25.505 | 13.479 | 6.346 | 29.667 | 28.383 | 29.904 | 28.115 | 0 | 26.762 | 27.263 | 0 | 29.133 | 29.685 | 0 | 0 | 0.1 | 2.5 | 0.6 | 0 | 0.1
19 | 03/10/2025 14:59:41.449 | 0 | 7.4e-07 | 0 | 0 | 0 | 28.511 | 13.475 | 6.325 | 30.004 | 28.369 | 29.909 | 28.117 | 0 | 26.759 | 27.267 | 0 | 29.123 | 29.736 | 0 | 0 | 0.6 | 1.2 | 1.2 | 0.5 | 0.1
20 | 03/10/2025 14:59:43.081 | 0 | 7.6e-07 | 0 | 0 | 0 | 29.49 | 13.472 | 6.293 | 30.108 | 28.376 | 29.89 | 28.089 | 0 | 26.754 | 27.262 | 0 | 29.123 | 29.715 | 0 | 0 | 0.6 | 1.7 | 0.6 | 0.8 | 0.1
21 | 03/10/2025 14:59:44.714 | 0 | 7.8e-07 | 0 | 0 | 0 | 26.581 | 13.482 | 6.291 | 29.855 | 28.368 | 29.884 | 28.124 | 0 | 26.736 | 27.257 | 0 | 29.155 | 29.72 | 0 | 0 | 0.1 | 0.7 | 0.6 | 0.8 | 0.1
22 | 03/10/2025 14:59:46.345 | 0 | 7.1e-07 | 0 | 0 | 0 | 29.403 | 13.476 | 6.292 | 29.873 | 28.384 | 29.896 | 28.131 | 0 | 26.764 | 27.266 | 0 | 29.145 | 29.696 | 0 | 0 | 0.6 | 0 | 0.6 | 0.5 | 0.1
23 | 03/10/2025 14:59:47.983 | 0 | 7.2e-07 | 0 | 0 | 0 | 27.819 | 13.404 | 6.294 | 29.878 | 28.363 | 29.905 | 28.13 | 0 | 26.739 | 27.26 | 0 | 29.138 | 29.718 | 0 | 0 | 0.6 | 0 | 0.6 | 0.5 | 0.1
24 | 03/10/2025 14:59:49.617 | 0 | 7.1e-07 | 0 | 0 | 0 | 25.794 | 13.331 | 6.296 | 30.189 | 28.359 | 29.899 | 28.111 | 0 | 26.752 | 27.27 | 0 | 29.125 | 29.733 | 0 | 0 | 1.3 | 0 | 0 | 0.3 | 0.1
25 | 03/10/2025 14:59:51.248 | 0 | 7e-07 | 0 | 0 | 0 | 28.953 | 13.459 | 6.292 | 29.873 | 28.378 | 29.891 | 28.105 | 0 | 26.753 | 27.261 | 0 | 29.142 | 29.712 | 0 | 0 | 0.9 | 0.6 | 0 | 0 | 0.1
26 | 03/10/2025 14:59:52.883 | 0 | 6.7e-07 | 0 | 0 | 0 | 29.464 | 13.478 | 6.343 | 29.831 | 28.342 | 29.873 | 28.122 | 0 | 26.76 | 27.248 | 0 | 29.167 | 29.718 | 0 | 0 | 0.1 | 0.7 | 0 | 1.8 | 0.1
27 | 03/10/2025 14:59:54.515 | 0 | 6.4e-07 | 0 | 0 | 0 | 26.091 | 13.475 | 6.33 | 29.718 | 28.354 | 29.905 | 28.114 | 0 | 26.755 | 27.264 | 0 | 29.135 | 29.706 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.1
28 | 03/10/2025 14:59:56.148 | 0 | 6.5e-07 | 0 | 1 | 1 | 29.422 | 13.475 | 6.302 | 29.66 | 28.339 | 29.905 | 28.096 | 0 | 26.746 | 27.273 | 0 | 29.154 | 29.714 | 0 | 0 | 1.3 | 0.6 | 0 | 0.6 | 0.1
29 | 03/10/2025 14:59:57.781 | 0 | 6.3e-07 | 0 | 0 | 0 | 27.176 | 13.474 | 6.293 | 30.07 | 28.364 | 29.886 | 28.094 | 0 | 26.75 | 27.38 | 0 | 29.122 | 29.712 | 0 | 0 | 1.3 | 0.6 | 0 | 0.6 | 0.1
30 | 03/10/2025 14:59:59.415 | 0 | 6.5e-07 | 0 | 0 | 0 | 26.184 | 13.504 | 6.293 | 29.751 | 28.332 | 29.886 | 28.106 | 0 | 26.752 | 27.385 | 0 | 29.142 | 29.723 | 0 | 0 | 0.6 | 1 | 0 | 0.5 | 0.2
31 | 03/10/2025 15:00:01.046 | 0 | 6.9e-07 | 0 | 0 | 0 | 29.122 | 13.628 | 6.294 | 29.541 | 28.347 | 29.887 | 28.12 | 0 | 26.742 | 27.25 | 0 | 29.14 | 29.696 | 0 | 0 | 0.6 | 1.8 | 0 | 0.1 | 0.2
32 | 03/10/2025 15:00:02.678 | 0 | 7e-07 | 0 | 0 | 0 | 29.232 | 13.777 | 6.295 | 30.063 | 28.362 | 29.9 | 28.113 | 0 | 26.732 | 27.233 | 0 | 29.134 | 29.695 | 0 | 0 | 0.6 | 1.5 | 0.6 | 0.5 | 0.2
33 | 03/10/2025 15:00:04.311 | 0 | 7.7e-07 | 0 | 0 | 0 | 28.61 | 13.704 | 6.295 | 29.828 | 28.362 | 29.894 | 28.096 | 0 | 26.744 | 27.396 | 0 | 29.12 | 29.712 | 0 | 0 | 0.3 | 0.7 | 0.9 | 0.6 | 0.2
34 | 03/10/2025 15:00:05.945 | 0 | 7.2e-07 | 0 | 1 | 0 | 29.473 | 13.627 | 6.294 | 29.862 | 28.376 | 29.896 | 28.122 | 0 | 26.75 | 27.368 | 0 | 29.12 | 29.713 | 0 | 0 | 0.3 | 0.7 | 0.9 | 0.6 | 0.2
35 | 03/10/2025 15:00:07.579 | 0 | 7.2e-07 | 0 | 0 | 0 | 26.678 | 13.774 | 6.294 | 29.894 | 28.371 | 29.885 | 28.114 | 0 | 26.74 | 27.415 | 0 | 29.169 | 29.736 | 0 | 0 | 0 | 0.7 | 0.6 | 0 | 0.2
36 | 03/10/2025 15:00:09.212 | 0 | 7e-07 | 0 | 0 | 0 | 26.525 | 13.779 | 6.295 | 29.815 | 28.398 | 29.906 | 28.113 | 0 | 26.77 | 27.408 | 0 | 29.134 | 29.681 | 0 | 0 | 0 | 0.1 | 0.1 | 0.5 | 0.2
37 | 03/10/2025 15:00:10.846 | 0 | 7e-07 | 0 | 0 | 0 | 29.308 | 13.778 | 6.294 | 30.023 | 28.384 | 29.905 | 28.122 | 0 | 26.753 | 27.403 | 0 | 29.137 | 29.713 | 0 | 0 | 0.6 | 0.9 | 0 | 0.6 | 0.2
38 | 03/10/2025 15:00:12.478 | 0 | 6.6e-07 | 0 | 0 | 1 | 25.674 | 13.775 | 6.294 | 29.928 | 28.389 | 29.895 | 28.105 | 0 | 26.761 | 27.402 | 0 | 29.104 | 29.696 | 0 | 0 | 1.2 | 0.7 | 0.6 | 0 | 0.2
39 | 03/10/2025 15:00:14.111 | 0 | 6.4e-07 | 0 | 0 | 0 | 28.941 | 13.776 | 6.294 | 30.004 | 28.367 | 29.897 | 28.104 | 0 | 26.745 | 27.419 | 0 | 29.145 | 29.735 | 0 | 0 | 0.4 | 1.6 | 0.3 | 0 | 0.1
40 | 03/10/2025 15:00:15.743 | 0 | 6.1e-07 | 0 | 0 | 0 | 29.401 | 13.783 | 6.276 | 29.93 | 28.37 | 29.872 | 28.117 | 0 | 26.755 | 27.43 | 0 | 29.147 | 29.703 | 0 | 0 | 0.4 | 1.6 | 0.3 | 0 | 0.1
41 | 03/10/2025 15:00:17.376 | 0 | 5.6e-07 | 0 | 0 | 0 | 26.137 | 13.784 | 6.277 | 29.57 | 28.374 | 29.902 | 28.133 | 0 | 26.738 | 27.407 | 0 | 29.144 | 29.693 | 0 | 0 | 1.2 | 1.6 | 0 | 0.5 | 0.1
42 | 03/10/2025 15:00:19.007 | 0 | 5.4e-07 | 0 | 0 | 0 | 27.027 | 13.78 | 6.278 | 29.93 | 28.365 | 29.904 | 28.117 | 0 | 26.755 | 27.422 | 0 | 29.141 | 29.734 | 0 | 0 | 0.2 | 1 | 0.6 | 1.1 | 0.1
43 | 03/10/2025 15:00:20.640 | 0 | 5.8e-07 | 0 | 0 | 0 | 29.359 | 13.777 | 6.277 | 30.098 | 28.375 | 29.895 | 28.098 | 0 | 26.765 | 27.413 | 0 | 29.125 | 29.705 | 0 | 0 | 0 | 1 | 0.7 | 0.6 | 0.1
44 | 03/10/2025 15:00:22.273 | 0 | 5.6e-07 | 0 | 0 | 0 | 26.09 | 13.779 | 6.278 | 29.779 | 28.353 | 29.883 | 28.092 | 0 | 26.752 | 27.431 | 0 | 29.153 | 29.736 | 0 | 0 | 0 | 1.1 | 0.9 | 1.1 | 0.1
45 | 03/10/2025 15:00:23.905 | 0 | 5.9e-07 | 0 | 0 | 0 | 29.169 | 13.775 | 6.275 | 29.857 | 28.362 | 29.883 | 28.121 | 0 | 26.76 | 27.398 | 0 | 29.134 | 29.697 | 0 | 0 | 0 | 1.1 | 0.9 | 1.1 | 0.1
46 | 03/10/2025 15:00:25.537 | 0 | 6.5e-07 | 0 | 0 | 0 | 29.18 | 13.783 | 6.276 | 29.671 | 28.344 | 29.911 | 28.109 | 0 | 26.754 | 27.397 | 0 | 29.147 | 29.709 | 0 | 0 | 0 | 0.6 | 0.6 | 1.4 | 0.1
47 | 03/10/2025 15:00:27.169 | 0 | 5.8e-07 | 0 | 0 | 0 | 25.7 | 13.774 | 6.279 | 29.985 | 28.357 | 29.894 | 28.097 | 0 | 26.748 | 27.421 | 0 | 29.107 | 29.717 | 0 | 0 | 0 | 0.7 | 0 | 0 | 0.1
48 | 03/10/2025 15:00:28.802 | 0 | 6.5e-07 | 0 | 0 | 0 | 27.576 | 13.774 | 6.293 | 29.949 | 28.361 | 29.891 | 28.097 | 0 | 26.749 | 27.398 | 0 | 29.142 | 29.713 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0.1
49 | 03/10/2025 15:00:30.433 | 0 | 6.3e-07 | 0 | 0 | 0 | 26.572 | 13.775 | 6.294 | 29.918 | 28.34 | 29.873 | 28.117 | 0 | 26.75 | 27.416 | 0 | 29.156 | 29.716 | 0 | 0 | 0 | 0.3 | 0 | 0.5 | 0
50 | 03/10/2025 15:00:32.065 | 0 | 6.2e-07 | 0 | 0 | 0 | 26.503 | 13.779 | 6.293 | 29.763 | 28.344 | 29.902 | 28.138 | 0 | 26.735 | 27.393 | 0 | 29.143 | 29.698 | 0 | 0 | 0 | 0.7 | 0 | 0 | 0
51 | 03/10/2025 15:00:33.697 | 0 | 6.7e-07 | 0 | 0 | 0 | 29.311 | 13.778 | 6.297 | 29.59 | 28.344 | 29.905 | 28.093 | 0 | 26.742 | 27.398 | 0 | 29.153 | 29.712 | 0 | 0 | 0 | 0.7 | 0 | 0 | 0
52 | 03/10/2025 15:00:35.378 | 0 | 6.5e-07 | 0 | 0 | 0 | 28.915 | 13.776 | 6.294 | 29.939 | 28.351 | 29.899 | 28.109 | 0 | 26.737 | 27.395 | 0 | 29.11 | 29.714 | 0 | 0 | 0.6 | 1.4 | 0.6 | 0 | 0
53 | 03/10/2025 15:00:37.013 | 0 | 6.7e-07 | 0 | 0 | 0 | 25.544 | 13.778 | 6.346 | 29.904 | 28.356 | 29.896 | 28.106 | 0 | 26.733 | 27.367 | 0 | 29.146 | 29.73 | 0 | 0 | 0.1 | 1.4 | 0.3 | 0.5 | 0
54 | 03/10/2025 15:00:38.645 | 0 | 6.5e-07 | 0 | 0 | 0 | 28.176 | 13.778 | 6.349 | 29.784 | 28.372 | 29.889 | 28.114 | 0 | 26.739 | 27.396 | 0 | 29.142 | 29.689 | 0 | 0 | 0 | 0.1 | 0 | 0.6 | 0
55 | 03/10/2025 15:00:40.278 | 0 | 7e-07 | 0 | 0 | 0 | 26.23 | 13.787 | 6.365 | 29.677 | 28.362 | 29.91 | 28.126 | 0 | 26.76 | 27.389 | 0 | 29.157 | 29.717 | 0 | 0 | 0.6 | 0.9 | 0 | 0.3 | 0
56 | 03/10/2025 15:00:41.910 | 0 | 6.5e-07 | 0 | 0 | 0 | 27.164 | 13.771 | 6.365 | 30.039 | 28.379 | 29.896 | 28.108 | 0 | 26.759 | 27.399 | 0 | 29.124 | 29.703 | 0 | 0 | 0.6 | 0.9 | 0 | 0.3 | 0
57 | 03/10/2025 15:00:43.542 | 0 | 6.5e-07 | 0 | 0 | 0 | 29.342 | 13.776 | 6.348 | 29.847 | 28.382 | 29.902 | 28.113 | 0 | 26.749 | 27.387 | 0 | 29.116 | 29.713 | 0 | 0 | 0.6 | 0.2 | 0 | 0 | 0
58 | 03/10/2025 15:00:45.174 | 0 | 5.6e-07 | 0 | 0 | 0 | 28.315 | 13.777 | 6.356 | 29.885 | 28.378 | 29.886 | 28.107 | 0 | 26.743 | 27.429 | 0 | 29.172 | 29.727 | 0 | 0 | 0.3 | 2 | 0 | 0 | 0
59 | 03/10/2025 15:00:46.806 | 0 | 5.8e-07 | 0 | 0 | 0 | 25.545 | 13.779 | 6.363 | 29.678 | 28.378 | 29.901 | 28.125 | 0 | 26.778 | 27.417 | 0 | 29.138 | 29.687 | 0 | 0 | 0.6 | 0.8 | 0.7 | 0 | 0
60 | 03/10/2025 15:00:48.438 | 0 | 5.9e-07 | 0 | 0 | 0 | 29.258 | 13.78 | 6.385 | 29.618 | 28.371 | 29.912 | 28.114 | 0 | 26.763 | 27.432 | 0 | 29.15 | 29.705 | 0 | 0 | 1.2 | 0 | 0.6 | 1 | 0.1
61 | 03/10/2025 15:00:50.070 | 0 | 6.1e-07 | 0 | 0 | 0 | 25.819 | 13.78 | 6.381 | 30.038 | 28.378 | 29.9 | 28.114 | 0 | 26.751 | 27.407 | 0 | 29.113 | 29.711 | 0 | 0 | 0.6 | 0 | 0.3 | 1.3 | 0.1
62 | 03/10/2025 15:00:51.702 | 0 | 5.8e-07 | 0 | 0 | 0 | 27.639 | 13.78 | 6.381 | 29.754 | 28.365 | 29.904 | 28.115 | 0 | 26.759 | 27.417 | 0 | 29.145 | 29.75 | 0 | 0 | 0.6 | 0 | 0.3 | 1.3 | 0.1
63 | 03/10/2025 15:00:53.334 | 0 | 5.8e-07 | 0 | 0 | 0 | 29.417 | 13.774 | 6.381 | 29.823 | 28.366 | 29.879 | 28.135 | 0 | 26.753 | 27.424 | 0 | 29.15 | 29.719 | 0 | 0 | 0 | 0 | 0.6 | 0.6 | 0.1
64 | 03/10/2025 15:00:54.967 | 0 | 5.7e-07 | 0 | 0 | 0 | 27.898 | 13.78 | 6.396 | 29.631 | 28.369 | 29.905 | 28.125 | 0 | 26.765 | 27.402 | 0 | 29.137 | 29.687 | 0 | 0 | 0 | 0.6 | 0.6 | 0 | 0.1
65 | 03/10/2025 15:00:56.597 | 0 | 5.6e-07 | 0 | 0 | 0 | 29.274 | 13.777 | 6.421 | 29.726 | 28.381 | 29.897 | 28.119 | 0 | 26.764 | 27.422 | 0 | 29.133 | 29.691 | 0 | 0 | 0 | 1 | 0 | 0 | 0.1
66 | 03/10/2025 15:00:58.230 | 0 | 5.8e-07 | 0 | 0 | 0 | 28.846 | 13.775 | 6.421 | 30.056 | 28.353 | 29.902 | 28.105 | 0 | 26.749 | 27.393 | 0 | 29.11 | 29.713 | 0 | 0 | 0.7 | 1.7 | 0 | 0 | 0.1
67 | 03/10/2025 15:00:59.862 | 0 | 6.3e-07 | 1 | 0 | 0 | 25.582 | 13.778 | 6.421 | 29.75 | 28.363 | 29.885 | 28.095 | 0 | 26.752 | 27.416 | 0 | 29.146 | 29.729 | 0 | 0 | 0.7 | 1.7 | 0 | 0 | 0.1
68 | 03/10/2025 15:01:01.494 | 0 | 6.2e-07 | 0 | 0 | 0 | 28.03 | 13.776 | 6.436 | 29.778 | 28.364 | 29.886 | 28.138 | 0 | 26.754 | 27.403 | 0 | 29.14 | 29.707 | 0 | 0 | 0.6 | 1.1 | 0.6 | 0.5 | 0.1
69 | 03/10/2025 15:01:03.125 | 0 | 6.5e-07 | 0 | 0 | 0 | 29.455 | 13.782 | 6.439 | 29.734 | 28.34 | 29.909 | 28.127 | 0 | 26.742 | 27.406 | 0 | 29.144 | 29.725 | 0 | 0 | 0.6 | 0.7 | 0.6 | 1.3 | 0.1
70 | 03/10/2025 15:01:04.757 | 0 | 6.1e-07 | 0 | 0 | 0 | 27.153 | 13.774 | 6.456 | 30.196 | 28.336 | 29.897 | 28.098 | 0 | 26.741 | 27.398 | 0 | 29.102 | 29.718 | 0 | 0 | 0.7 | 1.3 | 0.3 | 0.1 | 0.1
71 | 03/10/2025 15:01:06.389 | 0 | 6.3e-07 | 0 | 0 | 0 | 29.378 | 13.777 | 6.439 | 29.92 | 28.331 | 29.915 | 28.105 | 0 | 26.742 | 27.391 | 0 | 29.132 | 29.729 | 0 | 0 | 0.6 | 0.9 | 0 | 0 | 0.1
72 | 03/10/2025 15:01:08.022 | 0 | 6.5e-07 | 0 | 0 | 0 | 28.302 | 13.771 | 6.437 | 30.012 | 28.351 | 29.878 | 28.097 | 0 | 26.737 | 27.392 | 0 | 29.149 | 29.708 | 0 | 0 | 0.6 | 0.9 | 0 | 0 | 0.1
73 | 03/10/2025 15:01:09.654 | 0 | 6e-07 | 0 | 0 | 0 | 25.53 | 13.779 | 6.454 | 29.861 | 28.34 | 29.898 | 28.146 | 0 | 26.746 | 27.385 | 0 | 29.133 | 29.71 | 0 | 0 | 0 | 0.3 | 0 | 0.8 | 0.1
74 | 03/10/2025 15:01:11.287 | 0 | 5.8e-07 | 0 | 0 | 0 | 28.545 | 13.775 | 6.435 | 29.772 | 28.343 | 29.902 | 28.11 | 0 | 26.742 | 27.396 | 0 | 29.147 | 29.718 | 0 | 0 | 0 | 1.4 | 0 | 1.1 | 0.1
75 | 03/10/2025 15:01:12.920 | 0 | 5.5e-07 | 0 | 0 | 0 | 29.471 | 13.775 | 6.382 | 30.258 | 28.376 | 29.898 | 28.114 | 0 | 26.758 | 27.381 | 0 | 29.104 | 29.706 | 0 | 0 | 0 | 1.7 | 0 | 0.6 | 0.1
76 | 03/10/2025 15:01:14.552 | 0 | 5.5e-07 | 0 | 0 | 0 | 27.601 | 13.771 | 6.385 | 29.812 | 28.376 | 29.891 | 28.074 | 0 | 26.736 | 27.402 | 0 | 29.114 | 29.718 | 0 | 0 | 0 | 1.3 | 0.6 | 0.5 | 0.1
77 | 03/10/2025 15:01:16.184 | 0 | 5.4e-07 | 0 | 0 | 0 | 29.375 | 13.779 | 6.38 | 29.941 | 28.376 | 29.88 | 28.128 | 0 | 26.75 | 27.388 | 0 | 29.152 | 29.71 | 0 | 0 | 0 | 1.8 | 0.6 | 0.5 | 0.1
78 | 03/10/2025 15:01:17.818 | 0 | 6.3e-07 | 0 | 0 | 0 | 27.756 | 13.779 | 6.421 | 29.775 | 28.36 | 29.91 | 28.119 | 0 | 26.746 | 27.402 | 0 | 29.158 | 29.707 | 0 | 0 | 0 | 1.8 | 0.6 | 0.5 | 0.1
79 | 03/10/2025 15:01:19.451 | 0 | 5.9e-07 | 0 | 1 | 0 | 25.731 | 13.775 | 6.401 | 29.856 | 28.382 | 29.905 | 28.112 | 0 | 26.764 | 27.415 | 0 | 29.118 | 29.703 | 0 | 0 | 0.6 | 1.5 | 0.9 | 0.2 | 0.1
80 | 03/10/2025 15:01:21.083 | 0 | 6.9e-07 | 0 | 0 | 0 | 28.906 | 13.777 | 6.381 | 29.903 | 28.365 | 29.904 | 28.101 | 0 | 26.745 | 27.406 | 0 | 29.112 | 29.724 | 0 | 0 | 0.6 | 0.8 | 0 | 0 | 0.1