## Download Transaksi
Experimental Data of Practice 1: Introduction of Reactor Operation
No | Time | Power NP1000 [kW] | Power NLW2 [kW] | Safety Rod [%] | Compensation Rod [%] | Regulator Rod [%] | Reactor Tank Temp. [°C] | Reactor Tank Level [cm] | Reactor pH [-] | Fuel Element Temp. [°C] | Primary Inlet HE Tube Temp. [°C] | Primary Inlet HE Plat Temp. [°C] | Primary Outlet Temp. [°C] | Primary Flowrate [lpm] | Secondary Inlet HE Tube Temp. [°C] | Secondary Outlet HE Tube Temp. [°C] | Secondary HE Tube Flowrate [lpm] | Secondary Inlet HE Plat Temp. [°C] | Secondary Outlet HE Plat Temp. [°C] | Secondary HE Plat Flowrate [lpm] | Reactor Deck Area [MicroSv/h] | SubCritic Area [MicroSv/h] | Demineralizer Area [MicroSv/h] | Column Thermal Area [MicroSv/h] | Bulkshielding Area [MicroSv/h] | Main Control Room Area [MicroSv/h]
1 | 08/09/2025 09:55:55.175 | 0 | 8.4e-07 | 0 | 0 | 0 | 29.819 | 11.071 | 6.211 | 26.961 | 28.596 | 28.735 | 28.799 | 603.904 | 28.224 | 28.76 | 0 | 27.354 | 27.592 | 38.218 | 0 | 0.6 | 1 | 0.6 | 0 | 0.2
2 | 08/09/2025 09:55:57.789 | 0 | 8.9e-07 | 0 | 0 | 1 | 29.871 | 11.197 | 6.213 | 27.402 | 28.636 | 28.737 | 28.786 | 603.979 | 28.211 | 28.739 | 0 | 27.389 | 27.602 | 38.357 | 0 | 0.6 | 1 | 0 | 0 | 0.2
3 | 08/09/2025 09:55:59.506 | 0 | 8.5e-07 | 0 | 1 | 0 | 27.526 | 11.21 | 6.21 | 27.431 | 28.635 | 28.716 | 28.765 | 603.87 | 28.202 | 28.728 | 0 | 27.367 | 27.598 | 38.263 | 0 | 0.6 | 0.8 | 0 | 0 | 0.2
4 | 08/09/2025 09:56:01.139 | 0 | 9e-07 | 0 | 0 | 0 | 26.538 | 10.803 | 6.21 | 27.294 | 28.61 | 28.698 | 28.801 | 602.531 | 28.209 | 28.77 | 0 | 27.369 | 27.578 | 38.006 | 0 | 0.6 | 1 | 0 | 0.8 | 0.1
5 | 08/09/2025 09:56:02.771 | 0 | 8.7e-07 | 0 | 0 | 0 | 28.728 | 10.77 | 6.208 | 27.277 | 28.595 | 28.696 | 28.813 | 602.613 | 28.231 | 28.761 | 0 | 27.35 | 27.57 | 38.071 | 0 | 0.6 | 1 | 0 | 0.8 | 0.1
6 | 08/09/2025 09:56:04.408 | 0 | 8.4e-07 | 0 | 0 | 0 | 26.011 | 11.064 | 6.211 | 27.146 | 28.601 | 28.744 | 28.796 | 602.348 | 28.211 | 28.756 | 0 | 27.344 | 27.625 | 38.24 | 0 | 0 | 1.3 | 0 | 0.2 | 0.1
7 | 08/09/2025 09:56:06.040 | 0 | 8.1e-07 | 0 | 0 | 0 | 28.946 | 11.357 | 6.19 | 27.554 | 28.638 | 28.72 | 28.769 | 602.47 | 28.21 | 28.742 | 0 | 27.383 | 27.592 | 38.295 | 0 | 0 | 1.3 | 0 | 0.2 | 0.1
8 | 08/09/2025 09:56:07.672 | 0 | 8.2e-07 | 0 | 0 | 0 | 29.925 | 11.07 | 6.19 | 27.353 | 28.618 | 28.72 | 28.79 | 602.374 | 28.203 | 28.738 | 0 | 27.366 | 27.592 | 38.226 | 0 | 0 | 1.2 | 0.6 | 1.7 | 0.1
9 | 08/09/2025 09:56:09.304 | 0 | 7.8e-07 | 0 | 0 | 1 | 27.051 | 11.071 | 6.154 | 27.271 | 28.594 | 28.714 | 28.801 | 603.917 | 28.222 | 28.783 | 0 | 27.376 | 27.56 | 38.176 | 0 | 0 | 1.2 | 0 | 1.7 | 0.1
10 | 08/09/2025 09:56:10.937 | 0 | 8e-07 | 0 | 0 | 0 | 26.927 | 10.697 | 6.108 | 27.122 | 28.615 | 28.723 | 28.808 | 604.058 | 28.217 | 28.767 | 0 | 27.335 | 27.592 | 38.416 | 0 | 0.6 | 0.1 | 0.6 | 0.7 | 0.2
11 | 08/09/2025 09:56:12.569 | 0 | 7.3e-07 | 0 | 0 | 0 | 28.158 | 10.903 | 6.102 | 27.423 | 28.624 | 28.736 | 28.788 | 603.93 | 28.199 | 28.769 | 0 | 27.365 | 27.587 | 38.316 | 0 | 0.6 | 1.2 | 0 | 0.6 | 0.2
12 | 08/09/2025 09:56:14.201 | 0 | 7.1e-07 | 0 | 0 | 0 | 26.189 | 10.942 | 6.104 | 27.496 | 28.63 | 28.706 | 28.771 | 604.004 | 28.217 | 28.74 | 0 | 27.369 | 27.587 | 38.293 | 0 | 0.6 | 1.2 | 0 | 0.6 | 0.2
13 | 08/09/2025 09:56:15.839 | 0 | 7.8e-07 | 0 | 0 | 0 | 29.388 | 10.77 | 6.12 | 27.175 | 28.611 | 28.703 | 28.782 | 603.812 | 28.197 | 28.744 | 0 | 27.37 | 27.592 | 38.078 | 0 | 0.6 | 1.2 | 0 | 0.6 | 0.2
14 | 08/09/2025 09:56:17.471 | 0 | 7.8e-07 | 0 | 0 | 0 | 29.81 | 10.996 | 6.187 | 27.425 | 28.602 | 28.711 | 28.793 | 603.997 | 28.216 | 28.765 | 0 | 27.346 | 27.581 | 38.366 | 0 | 0.6 | 0.6 | 0.9 | 0.1 | 0.1
15 | 08/09/2025 09:56:19.106 | 0 | 7.4e-07 | 0 | 0 | 0 | 26.534 | 10.621 | 6.138 | 27.135 | 28.604 | 28.747 | 28.81 | 604.024 | 28.196 | 28.759 | 0 | 27.344 | 27.597 | 38.549 | 0 | 0.7 | 0.1 | 0.1 | 0.1 | 0.2
16 | 08/09/2025 09:56:20.739 | 0 | 7.1e-07 | 0 | 0 | 0 | 29.898 | 10.755 | 6.121 | 27.486 | 28.647 | 28.725 | 28.783 | 603.883 | 28.207 | 28.754 | 0 | 27.365 | 27.594 | 38.427 | 0 | 0.7 | 0.1 | 0 | 0.1 | 0.2
17 | 08/09/2025 09:56:22.371 | 0 | 6.5e-07 | 0 | 0 | 0 | 27.577 | 10.78 | 6.087 | 27.258 | 28.614 | 28.726 | 28.766 | 603.687 | 28.19 | 28.735 | 0 | 27.372 | 27.59 | 38.19 | 0 | 0.7 | 0.1 | 0 | 0.1 | 0.2
18 | 08/09/2025 09:56:24.121 | 0 | 6.9e-07 | 0 | 0 | 0 | 26.631 | 10.845 | 6.066 | 27.475 | 28.627 | 28.717 | 28.789 | 603.886 | 28.197 | 28.761 | 0 | 27.364 | 27.57 | 37.823 | 0 | 0.9 | 2.3 | 1.2 | 0.5 | 0.2
19 | 08/09/2025 09:56:25.754 | 0 | 6.6e-07 | 0 | 0 | 0 | 29.557 | 11.003 | 6.064 | 27.195 | 28.605 | 28.727 | 28.804 | 604.079 | 28.223 | 28.746 | 0 | 27.344 | 27.581 | 38.194 | 0 | 0.6 | 0.2 | 0.6 | 0.8 | 0.2
20 | 08/09/2025 09:56:27.387 | 0 | 6.8e-07 | 0 | 0 | 0 | 29.631 | 10.694 | 6.085 | 27.314 | 28.61 | 28.751 | 28.778 | 603.87 | 28.201 | 28.755 | 0 | 27.366 | 27.601 | 38.3 | 0 | 0.1 | 0.9 | 0.3 | 0.5 | 0.2
21 | 08/09/2025 09:56:29.020 | 0 | 7.4e-07 | 0 | 0 | 0 | 26.175 | 10.466 | 6.102 | 27.494 | 28.628 | 28.722 | 28.756 | 603.847 | 28.193 | 28.753 | 0 | 27.373 | 27.594 | 38.324 | 0 | 0 | 0.7 | 0 | 0.5 | 0.2
22 | 08/09/2025 09:56:30.651 | 0 | 7.3e-07 | 0 | 0 | 0 | 28.011 | 10.339 | 6.067 | 27.36 | 28.595 | 28.708 | 28.813 | 603.901 | 28.18 | 28.716 | 0 | 27.364 | 27.58 | 37.908 | 0 | 0.6 | 1 | 0.6 | 0 | 0.2
23 | 08/09/2025 09:56:32.286 | 0 | 8e-07 | 0 | 0 | 0 | 27.04 | 10.32 | 6.066 | 27.332 | 28.617 | 28.7 | 28.798 | 603.868 | 28.209 | 28.739 | 0 | 27.355 | 27.562 | 38.109 | 0 | 0.6 | 1 | 0.6 | 0 | 0.2
24 | 08/09/2025 09:56:33.919 | 0 | 7.6e-07 | 0 | 0 | 0 | 26.911 | 10.69 | 6.101 | 27.123 | 28.591 | 28.753 | 28.771 | 603.839 | 28.207 | 28.759 | 0 | 27.34 | 27.593 | 38.434 | 0 | 1.2 | 0.6 | 0.6 | 0.8 | 0.2
25 | 08/09/2025 09:56:35.551 | 0 | 7.4e-07 | 0 | 0 | 0 | 29.699 | 10.391 | 6.102 | 27.591 | 28.631 | 28.743 | 28.78 | 603.812 | 28.208 | 28.77 | 0 | 27.369 | 27.596 | 38.27 | 0 | 0.6 | 2 | 0.3 | 0.8 | 0.2
26 | 08/09/2025 09:56:37.183 | 0 | 7.4e-07 | 0 | 0 | 0 | 29.151 | 10.466 | 6.102 | 27.427 | 28.629 | 28.719 | 28.763 | 602.903 | 28.18 | 28.749 | 0 | 27.371 | 27.578 | 38.227 | 0 | 0.1 | 0.9 | 0.9 | 0 | 0.2
27 | 08/09/2025 09:56:38.816 | 0 | 7.4e-07 | 0 | 1 | 0 | 26.073 | 10.469 | 6.119 | 27.193 | 28.62 | 28.711 | 28.79 | 602.352 | 28.199 | 28.734 | 0 | 27.377 | 27.572 | 37.892 | 0 | 0.6 | 0.4 | 0.4 | 0.5 | 0.2
28 | 08/09/2025 09:56:40.450 | 0 | 7.1e-07 | 0 | 0 | 1 | 29.838 | 10.468 | 6.117 | 27.252 | 28.595 | 28.704 | 28.816 | 602.515 | 28.225 | 28.72 | 0 | 27.356 | 27.569 | 38.198 | 0 | 0.6 | 0.4 | 0.4 | 0.5 | 0.2
29 | 08/09/2025 09:56:42.083 | 0 | 7.1e-07 | 0 | 0 | 0 | 26.601 | 10.465 | 6.122 | 27.127 | 28.596 | 28.762 | 28.782 | 602.37 | 28.205 | 28.764 | 0 | 27.339 | 27.615 | 38.324 | 0 | 0.1 | 0 | 0 | 0.5 | 0.2
30 | 08/09/2025 09:56:43.715 | 0 | 7.1e-07 | 0 | 0 | 0 | 27.508 | 10.679 | 6.092 | 27.413 | 28.636 | 28.729 | 28.773 | 602.338 | 28.205 | 28.755 | 0 | 27.376 | 27.588 | 38.105 | 0 | 0 | 0 | 0 | 1 | 0.2
31 | 08/09/2025 09:56:45.347 | 0 | 7.2e-07 | 0 | 0 | 0 | 29.811 | 10.466 | 6.085 | 27.392 | 28.605 | 28.724 | 28.764 | 602.173 | 28.186 | 28.752 | 0 | 27.368 | 27.591 | 38.241 | 0 | 0 | 0.9 | 0 | 0.5 | 0.3
32 | 08/09/2025 09:56:46.979 | 0 | 7e-07 | 1 | 0 | 0 | 28.96 | 10.398 | 6.083 | 27.406 | 28.593 | 28.721 | 28.795 | 602.346 | 28.058 | 28.751 | 0 | 27.372 | 27.56 | 38.289 | 0 | 0 | 0.1 | 0 | 0.5 | 0.2
33 | 08/09/2025 09:56:48.613 | 0 | 7e-07 | 0 | 0 | 0 | 29.672 | 10.238 | 6.084 | 27.02 | 28.592 | 28.718 | 28.79 | 602.434 | 28.206 | 28.734 | 0 | 27.348 | 27.583 | 38.439 | 0 | 0 | 1.2 | 0 | 0.5 | 0.3
34 | 08/09/2025 09:56:50.246 | 0 | 7.2e-07 | 1 | 0 | 0 | 29.684 | 10.318 | 6.085 | 27.468 | 28.625 | 28.739 | 28.779 | 602.364 | 28.197 | 28.768 | 0 | 27.348 | 27.599 | 38.614 | 0 | 0 | 1.2 | 0 | 0.5 | 0.3
35 | 08/09/2025 09:56:51.879 | 0 | 6.8e-07 | 0 | 0 | 0 | 26.256 | 10.097 | 6.084 | 27.386 | 28.621 | 28.735 | 28.794 | 602.393 | 28.211 | 28.759 | 0 | 27.37 | 27.588 | 38.199 | 0 | 0 | 0.6 | 0 | 0.1 | 0.2
36 | 08/09/2025 09:56:53.514 | 0 | 7.2e-07 | 0 | 0 | 0 | 28.038 | 10.178 | 6.122 | 27.396 | 28.619 | 28.724 | 28.771 | 602.309 | 28.033 | 28.766 | 0 | 27.376 | 27.576 | 38.163 | 0 | 0.6 | 0.9 | 0 | 0.1 | 0.2
37 | 08/09/2025 09:56:55.146 | 0 | 6.8e-07 | 0 | 0 | 0 | 29.887 | 10.098 | 6.116 | 27.347 | 28.606 | 28.72 | 28.789 | 602.359 | 28.169 | 28.725 | 0 | 27.352 | 27.572 | 38.229 | 0 | 0.6 | 1 | 0 | 0.2 | 0.2
38 | 08/09/2025 09:56:56.777 | 0 | 6.3e-07 | 0 | 0 | 0 | 28.247 | 10.171 | 6.094 | 27.252 | 28.605 | 28.757 | 28.792 | 602.32 | 28.106 | 28.739 | 0 | 27.343 | 27.612 | 38.34 | 0 | 0.6 | 1 | 0.9 | 0 | 0.2
39 | 08/09/2025 09:56:58.409 | 0 | 6.4e-07 | 0 | 0 | 0 | 29.628 | 10.097 | 6.033 | 27.42 | 28.646 | 28.732 | 28.779 | 602.359 | 28.212 | 28.759 | 0 | 27.363 | 27.594 | 38.353 | 0 | 0.6 | 1 | 0.9 | 0 | 0.2
40 | 08/09/2025 09:57:00.045 | 0 | 6.4e-07 | 0 | 0 | 0 | 29.009 | 10.156 | 6.033 | 27.416 | 28.62 | 28.742 | 28.755 | 602.05 | 28.172 | 28.754 | 0 | 27.38 | 27.599 | 38.28 | 0 | 0.6 | 0.8 | 0.4 | 0 | 0.2
41 | 08/09/2025 09:57:01.677 | 0 | 6.2e-07 | 0 | 0 | 0 | 26.806 | 10.022 | 6.031 | 27.444 | 28.602 | 28.72 | 28.779 | 602.326 | 28.18 | 28.766 | 0 | 27.363 | 27.569 | 38.004 | 0 | 0 | 0.1 | 0.9 | 0 | 0.1
42 | 08/09/2025 09:57:03.310 | 0 | 6.1e-07 | 0 | 0 | 0 | 28.489 | 10.098 | 5.996 | 27.232 | 28.586 | 28.727 | 28.806 | 602.538 | 28.061 | 28.725 | 0 | 27.343 | 27.58 | 38.185 | 0 | 0.7 | 1.4 | 0.7 | 1 | 0.2
43 | 08/09/2025 09:57:04.942 | 0 | 5.5e-07 | 0 | 1 | 0 | 29.864 | 10.32 | 6 | 27.22 | 28.606 | 28.758 | 28.771 | 602.339 | 28.051 | 28.753 | 0 | 27.367 | 27.617 | 38.567 | 0 | 0.1 | 0.6 | 0 | 1 | 0.2
44 | 08/09/2025 09:57:06.574 | 0 | 5.6e-07 | 0 | 0 | 0 | 27.497 | 10.218 | 5.997 | 27.43 | 28.619 | 28.74 | 28.799 | 602.357 | 28.06 | 28.767 | 0 | 27.383 | 27.591 | 38.542 | 0 | 0 | 1.1 | 0 | 0.6 | 0.1
45 | 08/09/2025 09:57:08.205 | 0 | 5.7e-07 | 0 | 0 | 0 | 29.666 | 9.874 | 5.999 | 27.502 | 28.608 | 28.744 | 28.744 | 602.085 | 28.029 | 28.768 | 0 | 27.387 | 27.583 | 38.103 | 0 | 0 | 1.1 | 0 | 0.6 | 0.1
46 | 08/09/2025 09:57:09.839 | 0 | 5.6e-07 | 0 | 0 | 0 | 28.703 | 10.048 | 5.995 | 27.328 | 28.624 | 28.712 | 28.79 | 602.326 | 28.048 | 28.753 | 0 | 27.359 | 27.567 | 38.14 | 0 | 0 | 1 | 0.6 | 0.6 | 0.1
47 | 08/09/2025 09:57:11.473 | 0 | 5.9e-07 | 0 | 0 | 0 | 26.127 | 9.805 | 5.998 | 27.104 | 28.575 | 28.754 | 28.785 | 602.302 | 28.196 | 28.723 | 0 | 27.341 | 27.598 | 38.484 | 0 | 0 | 1.1 | 0.6 | 0.6 | 0.2
48 | 08/09/2025 09:57:13.105 | 0 | 6.3e-07 | 0 | 0 | 0 | 29.083 | 9.824 | 5.991 | 27.635 | 28.629 | 28.741 | 28.786 | 602.355 | 28.054 | 28.777 | 0 | 27.36 | 27.591 | 38.447 | 0 | 0 | 0.7 | 0.3 | 0.5 | 0.2
49 | 08/09/2025 09:57:14.737 | 0 | 6.1e-07 | 0 | 0 | 0 | 29.862 | 9.797 | 5.977 | 27.317 | 28.611 | 28.736 | 28.774 | 602.195 | 28.03 | 28.76 | 0 | 27.372 | 27.589 | 38.205 | 0 | 0 | 0.7 | 0 | 0.6 | 0.2
50 | 08/09/2025 09:57:16.369 | 0 | 6.3e-07 | 0 | 0 | 0 | 27.982 | 9.727 | 5.977 | 27.644 | 28.638 | 28.73 | 28.755 | 602.216 | 28.036 | 28.764 | 0 | 27.366 | 27.587 | 38.277 | 0 | 0 | 0.7 | 0 | 0.6 | 0.2
51 | 08/09/2025 09:57:18.002 | 0 | 5.8e-07 | 0 | 1 | 0 | 29.842 | 9.579 | 5.975 | 27.22 | 28.592 | 28.718 | 28.795 | 602.369 | 28.067 | 28.751 | 0 | 27.356 | 27.565 | 38.136 | 0 | 0.9 | 1.6 | 0 | 0.6 | 0.2
52 | 08/09/2025 09:57:19.635 | 0 | 5.4e-07 | 0 | 0 | 0 | 28.116 | 9.796 | 5.978 | 27.131 | 28.602 | 28.765 | 28.78 | 602.237 | 28.048 | 28.732 | 0 | 27.344 | 27.59 | 38.461 | 0 | 0.6 | 1.3 | 0 | 0 | 0.2
53 | 08/09/2025 09:57:21.267 | 0 | 5.3e-07 | 0 | 0 | 0 | 26.119 | 10.063 | 5.978 | 27.427 | 28.641 | 28.743 | 28.768 | 602.324 | 28.06 | 28.755 | 0 | 27.369 | 27.598 | 38.328 | 0 | 0.6 | 0.9 | 0 | 0.5 | 0.2
54 | 08/09/2025 09:57:22.903 | 0 | 6e-07 | 0 | 0 | 0 | 29.206 | 9.871 | 6.033 | 27.303 | 28.601 | 28.737 | 28.743 | 602.13 | 28.028 | 28.766 | 0 | 27.376 | 27.593 | 38.148 | 0 | 1.5 | 1.5 | 0.6 | 0.5 | 0.2
55 | 08/09/2025 09:57:24.536 | 0 | 5.8e-07 | 0 | 0 | 0 | 25.985 | 9.865 | 6.032 | 27.398 | 28.628 | 28.718 | 28.791 | 602.427 | 28.034 | 28.752 | 0 | 27.363 | 27.578 | 38.145 | 0 | 0.8 | 1 | 1.2 | 0 | 0.2
56 | 08/09/2025 09:57:26.170 | 0 | 5.7e-07 | 0 | 0 | 0 | 28.462 | 9.872 | 6.031 | 27.04 | 28.588 | 28.739 | 28.782 | 602.257 | 28.044 | 28.749 | 0 | 27.358 | 27.578 | 38.282 | 0 | 0.8 | 1 | 1.2 | 0 | 0.2
57 | 08/09/2025 09:57:27.809 | 0 | 5.5e-07 | 0 | 0 | 0 | 29.854 | 9.627 | 6.041 | 27.436 | 28.623 | 28.75 | 28.776 | 601.456 | 28.045 | 28.741 | 0 | 27.343 | 27.604 | 38.394 | 0 | 1.3 | 0.6 | 0.1 | 0 | 0.2
58 | 08/09/2025 09:57:29.441 | 0 | 5.9e-07 | 0 | 0 | 0 | 27.501 | 9.478 | 6.051 | 27.447 | 28.607 | 28.741 | 28.768 | 601.056 | 28.046 | 28.767 | 0 | 27.371 | 27.594 | 38.315 | 0 | 0.6 | 2.4 | 0 | 0 | 0.2
59 | 08/09/2025 09:57:31.074 | 0 | 5.3e-07 | 1 | 0 | 0 | 26.409 | 9.496 | 6.035 | 27.375 | 28.613 | 28.731 | 28.745 | 601.699 | 28.023 | 28.768 | 0 | 27.382 | 27.583 | 38.157 | 0 | 0.3 | 1.8 | 0 | 0.5 | 0.3
60 | 08/09/2025 09:57:32.707 | 0 | 5.6e-07 | 0 | 0 | 0 | 28.692 | 9.383 | 6.032 | 27.281 | 28.608 | 28.724 | 28.78 | 602.295 | 28.039 | 28.755 | 0 | 27.369 | 27.576 | 38.06 | 0 | 0 | 1.4 | 0 | 0.6 | 0.3
61 | 08/09/2025 09:57:34.340 | 0 | 5.2e-07 | 0 | 0 | 1 | 25.925 | 9.767 | 6.085 | 27.027 | 28.587 | 28.747 | 28.778 | 602.28 | 28.046 | 28.759 | 0 | 27.335 | 27.58 | 38.464 | 0 | 0 | 1.4 | 0 | 0.6 | 0.3
62 | 08/09/2025 09:57:35.973 | 0 | 5.6e-07 | 0 | 0 | 1 | 29.023 | 9.572 | 6.051 | 27.421 | 28.634 | 28.744 | 28.783 | 602.298 | 28.056 | 28.721 | 0 | 27.358 | 27.59 | 38.444 | 0 | 0 | 2 | 0 | 0.6 | 0.3
63 | 08/09/2025 09:57:37.609 | 0 | 5.4e-07 | 0 | 0 | 0 | 29.851 | 9.501 | 6.051 | 27.31 | 28.608 | 28.753 | 28.75 | 602.034 | 28.031 | 28.752 | 0 | 27.393 | 27.613 | 38.223 | 0 | 0.6 | 1.2 | 0 | 0.8 | 0.2
64 | 08/09/2025 09:57:39.243 | 0 | 5.4e-07 | 0 | 0 | 0 | 27.06 | 9.498 | 6.048 | 27.479 | 28.623 | 28.726 | 28.772 | 602.284 | 28.03 | 28.76 | 0 | 27.362 | 27.585 | 37.843 | 0 | 0.9 | 2 | 0 | 0 | 0.2
65 | 08/09/2025 09:57:40.880 | 0 | 5.6e-07 | 0 | 0 | 1 | 26.854 | 9.281 | 6.048 | 27.185 | 28.579 | 28.735 | 28.8 | 602.388 | 28.047 | 28.756 | 0 | 27.342 | 27.581 | 38.16 | 0 | 0.8 | 0.7 | 0 | 0 | 0.2
66 | 08/09/2025 09:57:42.511 | 0 | 5.6e-07 | 0 | 0 | 0 | 28.107 | 9.396 | 6.05 | 27.216 | 28.593 | 28.74 | 28.776 | 602.225 | 28.062 | 28.759 | 0 | 27.327 | 27.597 | 38.693 | 0 | 0.2 | 3.3 | 0.6 | 0.8 | 0.2
67 | 08/09/2025 09:57:44.143 | 0 | 5.7e-07 | 0 | 0 | 0 | 26.126 | 9.569 | 6.052 | 27.436 | 28.616 | 28.747 | 28.77 | 602.212 | 28.046 | 28.751 | 0 | 27.368 | 27.607 | 38.571 | 0 | 0.2 | 3.3 | 0.6 | 0.8 | 0.2
68 | 08/09/2025 09:57:45.775 | 0 | 5.5e-07 | 0 | 0 | 0 | 29.187 | 9.422 | 6.051 | 27.43 | 28.618 | 28.736 | 28.745 | 602.028 | 28.032 | 28.75 | 0 | 27.385 | 27.584 | 38.415 | 0 | 0.7 | 1.4 | 0 | 1.1 | 0.1
69 | 08/09/2025 09:57:47.410 | 0 | 5.2e-07 | 0 | 0 | 0 | 29.802 | 9.203 | 6.031 | 27.369 | 28.619 | 28.713 | 28.787 | 601.151 | 28.057 | 28.736 | 0 | 27.362 | 27.576 | 38.196 | 0 | 1 | 0.8 | 0.6 | 1.1 | 0.1
70 | 08/09/2025 09:57:49.044 | 0 | 5.4e-07 | 0 | 0 | 0 | 26.437 | 9.131 | 6.033 | 27.014 | 28.58 | 28.763 | 28.77 | 602.267 | 28.047 | 28.766 | 0 | 27.347 | 27.613 | 38.419 | 0 | 0.1 | 1.6 | 0 | 0.5 | 0.1
71 | 08/09/2025 09:57:50.676 | 0 | 5.6e-07 | 0 | 0 | 0 | 29.859 | 8.872 | 6.051 | 27.194 | 28.608 | 28.744 | 28.785 | 602.361 | 28.068 | 28.768 | 0 | 27.353 | 27.605 | 38.473 | 0 | 0 | 1.2 | 0 | 1.1 | 0.1
72 | 08/09/2025 09:57:52.312 | 0 | 5.7e-07 | 0 | 0 | 0 | 27.56 | 9.106 | 6.065 | 27.387 | 28.622 | 28.758 | 28.751 | 602.154 | 28.038 | 28.757 | 0 | 27.39 | 27.615 | 38.26 | 0 | 0 | 1.2 | 0 | 1.1 | 0.1
73 | 08/09/2025 09:57:53.947 | 0 | 5.9e-07 | 0 | 0 | 0 | 26.456 | 9.272 | 6.086 | 27.584 | 28.626 | 28.737 | 28.763 | 602.117 | 28.027 | 28.745 | 0 | 27.373 | 27.594 | 38.188 | 0 | 0.6 | 2 | 0.6 | 1.1 | 0.1
74 | 08/09/2025 09:57:55.579 | 0 | 5.9e-07 | 0 | 0 | 0 | 29.528 | 9.277 | 6.102 | 27.317 | 28.591 | 28.722 | 28.79 | 602.291 | 28.05 | 28.717 | 0 | 27.359 | 27.58 | 38.057 | 0 | 0.3 | 1 | 0 | 0.5 | 0.1
75 | 08/09/2025 09:57:57.211 | 0 | 5.4e-07 | 0 | 0 | 0 | 29.562 | 9.195 | 6.087 | 27.217 | 28.59 | 28.758 | 28.765 | 602.172 | 28.042 | 28.77 | 0 | 27.337 | 27.604 | 38.67 | 0 | 0 | 2.1 | 0.7 | 0 | 0.1
76 | 08/09/2025 09:57:58.845 | 0 | 5.6e-07 | 0 | 0 | 0 | 29.027 | 9.217 | 6.088 | 27.263 | 28.618 | 28.751 | 28.762 | 602.216 | 28.042 | 28.764 | 0 | 27.35 | 27.602 | 38.365 | 0 | 0.6 | 0.4 | 0.3 | 0 | 0.1
77 | 08/09/2025 09:58:00.477 | 0 | 5.4e-07 | 0 | 0 | 0 | 29.888 | 8.898 | 6.056 | 27.496 | 28.617 | 28.75 | 28.746 | 602.142 | 28.042 | 28.779 | 0 | 27.373 | 27.596 | 38.341 | 0 | 0.6 | 0.4 | 0.3 | 0 | 0.1
78 | 08/09/2025 09:58:02.110 | 0 | 5.3e-07 | 0 | 0 | 0 | 27 | 9.248 | 6.05 | 27.43 | 28.617 | 28.725 | 28.777 | 602.295 | 28.013 | 28.752 | 0 | 27.368 | 27.575 | 38.149 | 0 | 0.1 | 1.4 | 0 | 0.5 | 0.1
79 | 08/09/2025 09:58:03.743 | 0 | 5.4e-07 | 0 | 0 | 0 | 26.911 | 9.136 | 6.05 | 27.075 | 28.577 | 28.737 | 28.764 | 602.279 | 28.043 | 28.728 | 0 | 27.368 | 27.586 | 38.213 | 0 | 1.2 | 0.8 | 0 | 0.1 | 0.1
80 | 08/09/2025 09:58:05.374 | 0 | 5.2e-07 | 0 | 0 | 0 | 29.627 | 8.97 | 6.059 | 27.413 | 28.634 | 28.747 | 28.773 | 602.332 | 28.055 | 28.751 | 0 | 27.341 | 27.604 | 38.367 | 0 | 0.6 | 1.2 | 0 | 0.1 | 0.2
81 | 08/09/2025 09:58:07.005 | 0 | 5.3e-07 | 0 | 1 | 0 | 29.106 | 8.864 | 6.087 | 27.418 | 28.621 | 28.754 | 28.765 | 600.923 | 28.042 | 28.761 | 0 | 27.377 | 27.593 | 38.131 | 0 | 0.3 | 1.5 | 0 | 0.5 | 0.2
82 | 08/09/2025 09:58:08.638 | 0 | 5.4e-07 | 0 | 0 | 0 | 29.171 | 8.62 | 6.086 | 27.549 | 28.622 | 28.746 | 28.749 | 602.171 | 28.045 | 28.759 | 0 | 27.363 | 27.595 | 38.29 | 0 | 0 | 1 | 0 | 0.2 | 0.2
83 | 08/09/2025 09:58:10.270 | 0 | 5.8e-07 | 0 | 0 | 0 | 29.833 | 8.969 | 6.085 | 27.334 | 28.603 | 28.728 | 28.767 | 600.973 | 28.02 | 28.756 | 0 | 27.367 | 27.583 | 37.897 | 0 | 0 | 1 | 0 | 0.2 | 0.2
84 | 08/09/2025 09:58:11.909 | 0 | 5.9e-07 | 0 | 0 | 0 | 26.506 | 8.993 | 6.084 | 27.125 | 28.585 | 28.754 | 28.779 | 600.933 | 28.037 | 28.76 | 0 | 27.34 | 27.579 | 38.566 | 0 | 0 | 0.7 | 0.6 | 0.2 | 0.2
85 | 08/09/2025 09:58:13.543 | 0 | 5.9e-07 | 0 | 0 | 0 | 27.478 | 8.848 | 6.068 | 27.417 | 28.632 | 28.735 | 28.782 | 600.963 | 28.056 | 28.736 | 0 | 27.358 | 27.598 | 38.408 | 0 | 0 | 1.4 | 0.6 | 0.5 | 0.2
86 | 08/09/2025 09:58:15.175 | 0 | 5.8e-07 | 0 | 0 | 0 | 29.688 | 8.896 | 6.052 | 27.439 | 28.614 | 28.76 | 28.741 | 600.845 | 28.03 | 28.762 | 0 | 27.389 | 27.619 | 38.149 | 0 | 0.7 | 1.3 | 0 | 0.9 | 0.2
87 | 08/09/2025 09:58:16.807 | 0 | 5.7e-07 | 0 | 0 | 1 | 28.647 | 8.828 | 6.084 | 27.469 | 28.611 | 28.736 | 28.763 | 600.868 | 28.03 | 28.762 | 0 | 27.377 | 27.583 | 38.086 | 0 | 2.1 | 0.5 | 0 | 0.9 | 0.2
88 | 08/09/2025 09:58:18.441 | 0 | 5.8e-07 | 0 | 0 | 0 | 29.525 | 8.702 | 6.086 | 27.184 | 28.6 | 28.73 | 28.774 | 600.941 | 28.035 | 28.757 | 0 | 27.381 | 27.581 | 37.885 | 0 | 2.1 | 0.5 | 0 | 0.9 | 0.2
89 | 08/09/2025 09:58:20.073 | 0 | 5.6e-07 | 1 | 1 | 0 | 29.565 | 8.668 | 6.049 | 27.04 | 28.609 | 28.751 | 28.777 | 600.983 | 28.052 | 28.74 | 0 | 27.33 | 27.584 | 38.562 | 0 | 1.1 | 1 | 0 | 0.5 | 0.2
90 | 08/09/2025 09:58:21.705 | 0 | 5.5e-07 | 0 | 0 | 0 | 26.226 | 8.69 | 6.038 | 27.456 | 28.609 | 28.744 | 28.761 | 600.901 | 28.041 | 28.602 | 0 | 27.368 | 27.607 | 38.316 | 0 | 0.6 | 1.5 | 0 | 0.2 | 0.2
91 | 08/09/2025 09:58:23.337 | 0 | 5.3e-07 | 0 | 0 | 0 | 27.864 | 8.67 | 6.032 | 27.522 | 28.625 | 28.602 | 28.733 | 600.797 | 28.03 | 28.591 | 0 | 27.379 | 27.594 | 38.175 | 0 | 0 | 0.1 | 0 | 0.2 | 0.2
92 | 08/09/2025 09:58:24.972 | 0 | 5.1e-07 | 0 | 0 | 0 | 29.773 | 8.671 | 6.081 | 27.511 | 28.611 | 28.572 | 28.792 | 601.01 | 28.049 | 28.745 | 0 | 27.365 | 27.579 | 37.998 | 0 | 0 | 0.7 | 0 | 0.1 | 0.2
93 | 08/09/2025 09:58:26.603 | 0 | 5.2e-07 | 0 | 0 | 0 | 26.821 | 8.823 | 6.083 | 27.53 | 28.582 | 28.651 | 28.776 | 601.047 | 28.047 | 28.622 | 0 | 27.35 | 27.574 | 38.374 | 0 | 0 | 0.8 | 0 | 0 | 0.2
94 | 08/09/2025 09:58:28.236 | 0 | 5.2e-07 | 0 | 0 | 0 | 29.597 | 8.668 | 6.052 | 27.089 | 28.592 | 28.606 | 28.791 | 600.973 | 28.051 | 28.606 | 0 | 27.339 | 27.593 | 38.521 | 0 | 0 | 0.8 | 0 | 0 | 0.2
95 | 08/09/2025 09:58:29.869 | 0 | 5.6e-07 | 0 | 0 | 0 | 29.188 | 8.597 | 6.052 | 27.463 | 28.602 | 28.615 | 28.744 | 602.116 | 28.04 | 28.606 | 0 | 27.385 | 27.611 | 38.315 | 0 | 0.6 | 1.2 | 0 | 0 | 0.1
96 | 08/09/2025 09:58:31.501 | 0 | 6.3e-07 | 0 | 0 | 0 | 25.883 | 8.822 | 6.05 | 27.468 | 28.63 | 28.598 | 28.743 | 602.21 | 28.01 | 28.583 | 0 | 27.37 | 27.592 | 38.186 | 0 | 0.1 | 0.6 | 0 | 0.6 | 0.1
97 | 08/09/2025 09:58:33.135 | 0 | 6e-07 | 0 | 0 | 0 | 28.386 | 8.673 | 6.032 | 27.135 | 28.597 | 28.58 | 28.771 | 602.23 | 28.045 | 28.582 | 0 | 27.371 | 27.582 | 38.101 | 0 | 0.6 | 0.8 | 0 | 0.8 | 0.1
98 | 08/09/2025 09:58:34.767 | 0 | 6.1e-07 | 0 | 0 | 0 | 26.487 | 8.669 | 6.029 | 27.222 | 28.599 | 28.591 | 28.785 | 602.407 | 28.052 | 28.587 | 0 | 27.34 | 27.593 | 38.458 | 0 | 1.1 | 0.8 | 0 | 0.8 | 0.1
99 | 08/09/2025 09:58:36.399 | 0 | 5.6e-07 | 0 | 0 | 0 | 27.491 | 8.595 | 6.036 | 27.166 | 28.613 | 28.614 | 28.769 | 602.179 | 28.037 | 28.607 | 0 | 27.352 | 27.619 | 38.287 | 0 | 1.1 | 0.8 | 0 | 0.8 | 0.1
100 | 08/09/2025 09:58:38.033 | 0 | 5.4e-07 | 0 | 0 | 0 | 29.686 | 8.824 | 6.018 | 27.549 | 28.626 | 28.603 | 28.737 | 600.794 | 28.036 | 28.621 | 0 | 27.376 | 27.598 | 38.613 | 0 | 0.8 | 2 | 0 | 0.8 | 0.1