## Download Transaksi
Experimental Data of Practice 1: Introduction of Reactor Operation
No | Time | Power NP1000 [kW] | Power NLW2 [kW] | Safety Rod [%] | Compensation Rod [%] | Regulator Rod [%] | Reactor Tank Temp. [°C] | Reactor Tank Level [cm] | Reactor pH [-] | Fuel Element Temp. [°C] | Primary Inlet HE Tube Temp. [°C] | Primary Inlet HE Plat Temp. [°C] | Primary Outlet Temp. [°C] | Primary Flowrate [lpm] | Secondary Inlet HE Tube Temp. [°C] | Secondary Outlet HE Tube Temp. [°C] | Secondary HE Tube Flowrate [lpm] | Secondary Inlet HE Plat Temp. [°C] | Secondary Outlet HE Plat Temp. [°C] | Secondary HE Plat Flowrate [lpm] | Reactor Deck Area [MicroSv/h] | SubCritic Area [MicroSv/h] | Demineralizer Area [MicroSv/h] | Column Thermal Area [MicroSv/h] | Bulkshielding Area [MicroSv/h] | Main Control Room Area [MicroSv/h]
1 | 10/12/2024 10:49:30.355 | 0 | 4.3e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
2 | 10/12/2024 10:49:32.150 | 0 | 4.3e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
3 | 10/12/2024 10:49:33.796 | 0 | 3.7e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
4 | 10/12/2024 10:49:35.430 | 0 | 3.6e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
5 | 10/12/2024 10:49:37.067 | 0 | 4e-07 | 0 | 1 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
6 | 10/12/2024 10:49:38.702 | 0 | 4.1e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
7 | 10/12/2024 10:49:40.337 | 0 | 4e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
8 | 10/12/2024 10:49:42.972 | 0 | 4.1e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
9 | 10/12/2024 10:49:44.608 | 0 | 4.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
10 | 10/12/2024 10:49:46.242 | 0 | 4.7e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
11 | 10/12/2024 10:49:47.877 | 0 | 4.1e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
12 | 10/12/2024 10:49:49.527 | 0 | 4.1e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
13 | 10/12/2024 10:49:51.169 | 0 | 4e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
14 | 10/12/2024 10:49:52.803 | 0 | 3.9e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
15 | 10/12/2024 10:49:54.437 | 0 | 3.7e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
16 | 10/12/2024 10:49:57.077 | 0 | 4e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
17 | 10/12/2024 10:49:58.719 | 0 | 4.3e-07 | 0 | 0 | 1 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
18 | 10/12/2024 10:50:00.356 | 0 | 4.2e-07 | 0 | 0 | 1 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
19 | 10/12/2024 10:50:01.995 | 0 | 4.1e-07 | 1 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
20 | 10/12/2024 10:50:03.629 | 0 | 4.3e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
21 | 10/12/2024 10:50:05.267 | 0 | 4e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
22 | 10/12/2024 10:50:06.902 | 0 | 4e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
23 | 10/12/2024 10:50:08.538 | 0 | 3.6e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
24 | 10/12/2024 10:50:10.173 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
25 | 10/12/2024 10:50:11.810 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
26 | 10/12/2024 10:50:13.447 | 0 | 3.3e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
27 | 10/12/2024 10:50:15.081 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
28 | 10/12/2024 10:50:16.945 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
29 | 10/12/2024 10:50:18.579 | 0 | 3.9e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
30 | 10/12/2024 10:50:20.217 | 0 | 3.6e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
31 | 10/12/2024 10:50:21.851 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
32 | 10/12/2024 10:50:23.488 | 0 | 3.4e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
33 | 10/12/2024 10:50:25.126 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
34 | 10/12/2024 10:50:26.761 | 0 | 3.7e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
35 | 10/12/2024 10:50:28.396 | 0 | 3.8e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
36 | 10/12/2024 10:50:30.031 | 0 | 3.9e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
37 | 10/12/2024 10:50:31.666 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
38 | 10/12/2024 10:50:33.301 | 0 | 3.9e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
39 | 10/12/2024 10:50:34.938 | 0 | 3.7e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
40 | 10/12/2024 10:50:36.578 | 0 | 3.7e-07 | 1 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
41 | 10/12/2024 10:50:38.215 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
42 | 10/12/2024 10:50:39.849 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
43 | 10/12/2024 10:50:41.485 | 0 | 3.6e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
44 | 10/12/2024 10:50:43.120 | 0 | 4.1e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
45 | 10/12/2024 10:50:44.756 | 0 | 4.1e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
46 | 10/12/2024 10:50:46.389 | 0 | 4e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
47 | 10/12/2024 10:50:48.023 | 0 | 4.2e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
48 | 10/12/2024 10:50:49.663 | 0 | 3.7e-07 | 0 | 1 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
49 | 10/12/2024 10:50:51.298 | 0 | 3.8e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
50 | 10/12/2024 10:50:52.933 | 0 | 3.6e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
51 | 10/12/2024 10:50:54.567 | 0 | 3.4e-07 | 1 | 0 | 1 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
52 | 10/12/2024 10:50:56.202 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
53 | 10/12/2024 10:50:57.840 | 0 | 3.6e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
54 | 10/12/2024 10:51:00.477 | 0 | 3.7e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
55 | 10/12/2024 10:51:02.112 | 0 | 3.5e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
56 | 10/12/2024 10:51:03.747 | 0 | 3.3e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
57 | 10/12/2024 10:51:05.386 | 0 | 3.8e-07 | 0 | 0 | 1 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
58 | 10/12/2024 10:51:07.023 | 0 | 3.7e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
59 | 10/12/2024 10:51:08.658 | 0 | 3.7e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2
60 | 10/12/2024 10:51:10.294 | 0 | 3.4e-07 | 0 | 0 | 0 | 23.815 | 13.617 | 7.24 | 27.128 | 28.102 | 28.205 | 28.018 | 648.319 | 27.393 | 27.822 | 0 | 27.227 | 27.452 | 32.893 | 0 | 0.6 | 0.8 | 0.1 | 0.5 | 0.2