## Download Transaksi
Experimental Data of Practice 1: Introduction of Reactor Operation
No | Time | Power NP1000 [kW] | Power NLW2 [kW] | Safety Rod [%] | Compensation Rod [%] | Regulator Rod [%] | Reactor Tank Temp. [°C] | Reactor Tank Level [cm] | Reactor pH [-] | Fuel Element Temp. [°C] | Primary Inlet HE Tube Temp. [°C] | Primary Inlet HE Plat Temp. [°C] | Primary Outlet Temp. [°C] | Primary Flowrate [lpm] | Secondary Inlet HE Tube Temp. [°C] | Secondary Outlet HE Tube Temp. [°C] | Secondary HE Tube Flowrate [lpm] | Secondary Inlet HE Plat Temp. [°C] | Secondary Outlet HE Plat Temp. [°C] | Secondary HE Plat Flowrate [lpm] | Reactor Deck Area [MicroSv/h] | SubCritic Area [MicroSv/h] | Demineralizer Area [MicroSv/h] | Column Thermal Area [MicroSv/h] | Bulkshielding Area [MicroSv/h] | Main Control Room Area [MicroSv/h]
1 | 19/06/2025 14:01:21.689 | 0 | 9.2e-07 | 0 | 1 | 0 | 28.055 | 12.21 | 6.72 | 26.993 | 27.511 | 28.009 | 27.67 | 0 | 26.658 | 28.129 | 0 | 28.107 | 30.303 | 0 | 0 | 62.301 | 2 | 0 | 0 | 0.3
2 | 19/06/2025 14:01:23.321 | 0 | 9.8e-07 | 0 | 0 | 0 | 24.415 | 12.201 | 6.718 | 27.091 | 27.534 | 28.019 | 27.653 | 0 | 26.662 | 28.124 | 0 | 28.098 | 30.276 | 0 | 0 | 70.301 | 1.9 | 0.6 | 0.5 | 0.3
3 | 19/06/2025 14:01:24.952 | 0 | 9.7e-07 | 0 | 0 | 0 | 27.01 | 12.205 | 6.703 | 26.841 | 27.512 | 28.062 | 27.647 | 0 | 26.661 | 28.117 | 0 | 28.07 | 30.328 | 0 | 0 | 67.401 | 1.1 | 0.3 | 0.5 | 0.3
4 | 19/06/2025 14:01:26.588 | 0 | 9.6e-07 | 1 | 0 | 0 | 28.723 | 12.275 | 6.704 | 27.21 | 27.507 | 28.049 | 27.635 | 0 | 26.659 | 28.155 | 0 | 28.107 | 30.316 | 0 | 0 | 67.401 | 1.1 | 0.3 | 0.5 | 0.3
5 | 19/06/2025 14:01:28.222 | 0 | 1e-06 | 1 | 0 | 0 | 26.579 | 12.46 | 6.703 | 27.172 | 27.526 | 28.034 | 27.618 | 0 | 26.663 | 28.139 | 0 | 28.109 | 30.305 | 0 | 0 | 62.101 | 2 | 0 | 0.2 | 0.2
6 | 19/06/2025 14:01:29.857 | 0 | 9.9e-07 | 0 | 0 | 0 | 24.653 | 12.281 | 6.702 | 26.875 | 27.51 | 28.015 | 27.656 | 0 | 26.658 | 28.153 | 0 | 28.106 | 30.311 | 0 | 0 | 68.101 | 1.1 | 0 | 0.5 | 0.2
7 | 19/06/2025 14:01:31.490 | 0 | 9e-07 | 0 | 0 | 0 | 28.304 | 12.423 | 6.704 | 26.842 | 27.514 | 28.045 | 27.644 | 0 | 26.647 | 28.166 | 0 | 28.075 | 30.307 | 0 | 0 | 73.201 | 0.7 | 0.6 | 1 | 0.2
8 | 19/06/2025 14:01:33.122 | 0 | 9.2e-07 | 0 | 1 | 0 | 24.456 | 12.503 | 6.723 | 26.736 | 27.505 | 28.047 | 27.645 | 0 | 26.648 | 28.159 | 0 | 28.096 | 30.341 | 0 | 0 | 59.801 | 2.2 | 0 | 0.8 | 0.2
9 | 19/06/2025 14:01:34.753 | 0 | 9.4e-07 | 0 | 0 | 0 | 27.396 | 12.506 | 6.72 | 27.12 | 27.503 | 28.05 | 27.625 | 0 | 26.651 | 28.146 | 0 | 28.116 | 30.302 | 0 | 0 | 59.801 | 2.2 | 0 | 0.8 | 0.2
10 | 19/06/2025 14:01:36.384 | 0 | 9.4e-07 | 0 | 0 | 0 | 28.729 | 12.448 | 6.72 | 27.164 | 27.482 | 28.024 | 27.638 | 0 | 26.651 | 28.146 | 0 | 28.108 | 30.314 | 0 | 0 | 61.701 | 0.9 | 0.6 | 0.4 | 0.2
11 | 19/06/2025 14:01:38.016 | 0 | 9.1e-07 | 0 | 0 | 0 | 25.791 | 12.279 | 6.719 | 26.957 | 27.482 | 28.026 | 27.671 | 0 | 26.651 | 28.171 | 0 | 28.103 | 30.298 | 0 | 0 | 70.401 | 0.3 | 0 | 0 | 0.2
12 | 19/06/2025 14:01:39.649 | 0 | 8e-07 | 0 | 0 | 0 | 25.25 | 12.422 | 6.719 | 26.814 | 27.525 | 28.042 | 27.662 | 0 | 26.638 | 28.149 | 0 | 28.07 | 30.312 | 0 | 0 | 63.101 | 0.7 | 0 | 0 | 0.2
13 | 19/06/2025 14:01:41.279 | 0 | 8.6e-07 | 0 | 0 | 0 | 27.093 | 12.429 | 6.721 | 27.244 | 27.508 | 28.05 | 27.647 | 0 | 26.642 | 28.156 | 0 | 28.084 | 30.323 | 0 | 0 | 60.101 | 0.9 | 0 | 0.5 | 0.1
14 | 19/06/2025 14:01:42.910 | 0 | 8.5e-07 | 0 | 0 | 0 | 24.406 | 12.437 | 6.72 | 27.107 | 27.505 | 28.046 | 27.646 | 0 | 26.651 | 28.149 | 0 | 28.104 | 30.308 | 0 | 0 | 62.901 | 1.2 | 0.6 | 0.6 | 0.2
15 | 19/06/2025 14:01:44.549 | 0 | 8.8e-07 | 1 | 0 | 0 | 28.045 | 12.506 | 6.721 | 26.966 | 27.532 | 28.017 | 27.639 | 0 | 26.655 | 28.153 | 0 | 28.124 | 30.323 | 0 | 0 | 62.901 | 1.2 | 0.6 | 0.6 | 0.2
16 | 19/06/2025 14:01:46.181 | 0 | 8.4e-07 | 0 | 0 | 0 | 28.692 | 12.277 | 6.717 | 26.927 | 27.544 | 28.036 | 27.651 | 0 | 26.667 | 28.146 | 0 | 28.09 | 30.296 | 0 | 0 | 63.401 | 1.5 | 0.3 | 0.6 | 0.2
17 | 19/06/2025 14:01:47.811 | 0 | 1e-06 | 0 | 0 | 0 | 25.382 | 12.276 | 6.72 | 26.915 | 27.522 | 28.065 | 27.65 | 0 | 26.653 | 28.145 | 0 | 28.082 | 30.321 | 0 | 0 | 65.301 | 2.2 | 0 | 0.1 | 0.2
18 | 19/06/2025 14:01:49.443 | 0 | 1e-06 | 0 | 1 | 1 | 28.692 | 12.274 | 6.72 | 27.112 | 27.536 | 28.038 | 27.645 | 0 | 26.669 | 28.143 | 0 | 28.098 | 30.307 | 0 | 0 | 66.401 | 2.3 | 0.6 | 0.6 | 0.2
19 | 19/06/2025 14:01:51.077 | 0 | 9.3e-07 | 0 | 0 | 0 | 26.547 | 12.279 | 6.72 | 26.939 | 27.522 | 28.036 | 27.624 | 0 | 26.657 | 28.129 | 0 | 28.11 | 30.308 | 0 | 0 | 68.901 | 0.7 | 0.3 | 0.3 | 0.2
20 | 19/06/2025 14:01:52.710 | 0 | 1e-06 | 0 | 0 | 0 | 24.675 | 12.279 | 6.72 | 27.051 | 27.522 | 28.011 | 27.652 | 0 | 26.663 | 28.134 | 0 | 28.109 | 30.306 | 0 | 0 | 68.901 | 0.7 | 0.3 | 0.3 | 0.2
21 | 19/06/2025 14:01:54.343 | 0 | 9.9e-07 | 0 | 0 | 0 | 28.252 | 12.489 | 6.717 | 26.862 | 27.532 | 28.044 | 27.674 | 0 | 26.668 | 28.132 | 0 | 28.088 | 30.317 | 0 | 0 | 67.101 | 0.9 | 0 | 0 | 0.1
22 | 19/06/2025 14:01:55.973 | 0 | 1e-06 | 0 | 0 | 1 | 28.545 | 12.432 | 6.722 | 27.035 | 27.504 | 28.057 | 27.638 | 0 | 26.655 | 28.128 | 0 | 28.097 | 30.336 | 0 | 0 | 74.601 | 0.9 | 0.6 | 0.5 | 0.1
23 | 19/06/2025 14:01:57.604 | 0 | 1.1e-06 | 0 | 0 | 0 | 27.346 | 12.434 | 6.72 | 27.231 | 27.521 | 28.042 | 27.644 | 0 | 26.644 | 28.114 | 0 | 28.107 | 30.312 | 0 | 0 | 64.801 | 1.3 | 0.6 | 0.5 | 0.1
24 | 19/06/2025 14:01:59.235 | 0 | 1e-06 | 0 | 0 | 0 | 28.723 | 12.507 | 6.705 | 27.084 | 27.514 | 28.032 | 27.627 | 0 | 26.66 | 28.14 | 0 | 28.128 | 30.325 | 0 | 0 | 62.401 | 0.8 | 0 | 1.3 | 0.1
25 | 19/06/2025 14:02:00.867 | 0 | 1e-06 | 0 | 1 | 0 | 25.781 | 12.505 | 6.701 | 26.939 | 27.52 | 28.022 | 27.652 | 0 | 26.679 | 28.136 | 0 | 28.104 | 30.289 | 0 | 0 | 62.401 | 0.8 | 0 | 1.3 | 0.1
26 | 19/06/2025 14:02:02.500 | 0 | 1e-06 | 0 | 0 | 0 | 25.297 | 12.503 | 6.703 | 26.908 | 27.512 | 28.055 | 27.652 | 0 | 26.655 | 28.065 | 0 | 28.071 | 30.337 | 0 | 0 | 62.001 | 0.8 | 0 | 0.6 | 0.1
27 | 19/06/2025 14:02:04.131 | 0 | 1e-06 | 0 | 0 | 0 | 28.405 | 12.428 | 6.725 | 26.99 | 27.512 | 28.042 | 27.644 | 0 | 26.647 | 28.169 | 0 | 28.102 | 30.309 | 0 | 0 | 56.801 | 1.3 | 0 | 0.5 | 0.1
28 | 19/06/2025 14:02:05.762 | 0 | 1e-06 | 1 | 0 | 0 | 28.209 | 12.281 | 6.825 | 26.908 | 27.511 | 28.04 | 27.636 | 0 | 26.645 | 28.143 | 0 | 28.104 | 30.298 | 0 | 0 | 54.401 | 1.8 | 0 | 1.3 | 0.1
29 | 19/06/2025 14:02:07.393 | 0 | 1.1e-06 | 0 | 1 | 0 | 28 | 12.274 | 6.774 | 27.322 | 27.494 | 28.018 | 27.631 | 0 | 26.648 | 28.158 | 0 | 28.104 | 30.294 | 0 | 0 | 61.901 | 2.1 | 0.6 | 0.8 | 0.1
30 | 19/06/2025 14:02:09.025 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.711 | 12.282 | 6.666 | 26.825 | 27.49 | 28.036 | 27.664 | 0 | 26.631 | 28.154 | 0 | 28.097 | 30.295 | 0 | 0 | 65.401 | 1 | 0.3 | 0 | 0.1
31 | 19/06/2025 14:02:10.657 | 0 | 1e-06 | 0 | 1 | 1 | 25.374 | 12.285 | 6.637 | 26.887 | 27.479 | 28.055 | 27.648 | 0 | 26.648 | 28.159 | 0 | 28.09 | 30.34 | 0 | 0 | 65.401 | 1 | 0.3 | 0 | 0.1
32 | 19/06/2025 14:02:12.286 | 0 | 1.1e-06 | 0 | 0 | 0 | 25.601 | 12.43 | 6.632 | 27.003 | 27.518 | 28.045 | 27.636 | 0 | 26.648 | 28.151 | 0 | 28.109 | 30.315 | 0 | 0 | 70.301 | 0.9 | 0.6 | 0.5 | 0.1
33 | 19/06/2025 14:02:13.917 | 0 | 1e-06 | 1 | 0 | 0 | 28.543 | 12.142 | 6.633 | 27.073 | 27.5 | 28.039 | 27.627 | 0 | 26.638 | 28.146 | 0 | 28.107 | 30.309 | 0 | 0 | 65.101 | 1.1 | 0 | 0 | 0.2
34 | 19/06/2025 14:02:15.548 | 0 | 1e-06 | 0 | 0 | 0 | 24.653 | 11.841 | 6.631 | 26.972 | 27.518 | 28.018 | 27.647 | 0 | 26.651 | 28.147 | 0 | 28.111 | 30.293 | 0 | 0 | 65.201 | 0.8 | 0 | 0.5 | 0.2
35 | 19/06/2025 14:02:17.178 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.252 | 11.907 | 6.633 | 26.576 | 27.519 | 28.047 | 27.646 | 0 | 26.658 | 28.149 | 0 | 28.09 | 30.306 | 0 | 0 | 65.701 | 1.3 | 0 | 0.1 | 0.2
36 | 19/06/2025 14:02:18.809 | 0 | 1e-06 | 0 | 0 | 1 | 28.517 | 12.18 | 6.633 | 27.148 | 27.519 | 28.042 | 27.641 | 0 | 26.661 | 28.168 | 0 | 28.076 | 30.32 | 0 | 0 | 65.701 | 1.3 | 0 | 0.1 | 0.2
37 | 19/06/2025 14:02:20.440 | 0 | 1e-06 | 0 | 0 | 0 | 24.743 | 12.437 | 6.635 | 27.099 | 27.526 | 28.054 | 27.64 | 0 | 26.669 | 28.138 | 0 | 28.112 | 30.306 | 0 | 0 | 72.101 | 1.5 | 0 | 0.9 | 0.2
38 | 19/06/2025 14:02:22.073 | 0 | 1e-06 | 0 | 0 | 0 | 26.302 | 12.508 | 6.669 | 26.79 | 27.519 | 28.019 | 27.638 | 0 | 26.651 | 28.148 | 0 | 28.115 | 30.311 | 0 | 0 | 64.501 | 2.2 | 1.2 | 0.7 | 0.2
39 | 19/06/2025 14:02:23.704 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.582 | 12.195 | 6.666 | 26.888 | 27.545 | 28.04 | 27.653 | 0 | 26.675 | 28.134 | 0 | 28.098 | 30.292 | 0 | 0 | 70.401 | 2.3 | 0.6 | 0.1 | 0.2
40 | 19/06/2025 14:02:25.334 | 0 | 1.1e-06 | 0 | 0 | 0 | 25.213 | 11.984 | 6.669 | 26.804 | 27.528 | 28.055 | 27.65 | 0 | 26.661 | 28.145 | 0 | 28.084 | 30.311 | 0 | 0 | 68.801 | 0.4 | 0 | 0.5 | 0.2
41 | 19/06/2025 14:02:26.965 | 0 | 1.1e-06 | 1 | 0 | 0 | 28.396 | 11.986 | 6.667 | 27.118 | 27.536 | 28.033 | 27.651 | 0 | 26.668 | 28.137 | 0 | 28.102 | 30.312 | 0 | 0 | 69.601 | 1 | 0.6 | 1 | 0.2
42 | 19/06/2025 14:02:28.595 | 0 | 1e-06 | 0 | 0 | 0 | 28.213 | 12.271 | 6.669 | 27.042 | 27.515 | 28.056 | 27.624 | 0 | 26.651 | 28.121 | 0 | 28.124 | 30.323 | 0 | 0 | 69.601 | 1 | 0.6 | 1 | 0.2
43 | 19/06/2025 14:02:30.226 | 0 | 1e-06 | 0 | 0 | 0 | 24.505 | 12.447 | 6.667 | 27.223 | 27.513 | 28.019 | 27.65 | 0 | 26.658 | 28.134 | 0 | 28.111 | 30.295 | 0 | 0 | 73.001 | 1.2 | 0.1 | 0.6 | 0.2
44 | 19/06/2025 14:02:31.857 | 0 | 1e-06 | 0 | 0 | 0 | 27.01 | 12.385 | 6.665 | 26.91 | 27.517 | 28.048 | 27.666 | 0 | 26.651 | 28.115 | 0 | 28.08 | 30.311 | 0 | 0 | 69.001 | 0.1 | 0.6 | 0.6 | 0.2
45 | 19/06/2025 14:02:33.489 | 0 | 9.6e-07 | 0 | 0 | 0 | 25.316 | 12.274 | 6.668 | 26.67 | 27.521 | 28.047 | 27.644 | 0 | 26.66 | 28.134 | 0 | 28.078 | 30.307 | 0 | 0 | 64.701 | 0.9 | 0.1 | 0.1 | 0.2
46 | 19/06/2025 14:02:35.119 | 0 | 9.5e-07 | 0 | 0 | 1 | 25.645 | 12.281 | 6.668 | 27.12 | 27.508 | 28.048 | 27.646 | 0 | 26.641 | 28.127 | 0 | 28.105 | 30.314 | 0 | 0 | 62.501 | 1.8 | 0.6 | 0 | 0.2
47 | 19/06/2025 14:02:36.751 | 0 | 1e-06 | 1 | 0 | 0 | 28.535 | 12.433 | 6.67 | 27.072 | 27.503 | 28.03 | 27.61 | 0 | 26.654 | 28.168 | 0 | 28.122 | 30.33 | 0 | 0 | 62.501 | 1.8 | 0.6 | 0 | 0.2
48 | 19/06/2025 14:02:38.383 | 0 | 1.1e-06 | 0 | 0 | 0 | 27.754 | 12.207 | 6.665 | 26.92 | 27.519 | 28.023 | 27.659 | 0 | 26.668 | 28.153 | 0 | 28.101 | 30.285 | 0 | 0 | 61.701 | 1.1 | 0 | 0 | 0.2
49 | 19/06/2025 14:02:40.014 | 0 | 1.1e-06 | 0 | 0 | 0 | 24.365 | 12.224 | 6.669 | 26.829 | 27.503 | 28.059 | 27.639 | 0 | 26.641 | 28.146 | 0 | 28.077 | 30.334 | 0 | 0 | 59.801 | 1.4 | 0 | 0.5 | 0.2
50 | 19/06/2025 14:02:41.647 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.563 | 12.204 | 6.669 | 26.903 | 27.506 | 28.044 | 27.664 | 0 | 26.645 | 28.148 | 0 | 28.086 | 30.308 | 0 | 0 | 62.401 | 1 | 0.9 | 0.6 | 0.2
51 | 19/06/2025 14:02:43.279 | 0 | 1.1e-06 | 0 | 0 | 0 | 24.727 | 11.985 | 6.67 | 26.957 | 27.502 | 28.052 | 27.617 | 0 | 26.635 | 28.158 | 0 | 28.117 | 30.335 | 0 | 0 | 58.701 | 0.8 | 0.1 | 1.4 | 0.2
52 | 19/06/2025 14:02:44.910 | 0 | 1.1e-06 | 0 | 0 | 0 | 26.315 | 12.268 | 6.667 | 26.992 | 27.485 | 28.034 | 27.634 | 0 | 26.642 | 28.153 | 0 | 28.116 | 30.303 | 0 | 0 | 57.101 | 1.1 | 0.6 | 0.7 | 0.2
53 | 19/06/2025 14:02:46.546 | 0 | 1e-06 | 0 | 0 | 0 | 28.638 | 12.438 | 6.7 | 26.909 | 27.496 | 28.033 | 27.638 | 0 | 26.635 | 28.047 | 0 | 28.099 | 30.301 | 0 | 0 | 57.101 | 1.1 | 0.6 | 0.7 | 0.2
54 | 19/06/2025 14:02:48.179 | 0 | 1e-06 | 0 | 0 | 0 | 27.146 | 12.435 | 6.705 | 26.756 | 27.5 | 28.052 | 27.645 | 0 | 26.644 | 28.166 | 0 | 28.083 | 30.324 | 0 | 0 | 70.201 | 0.7 | 0 | 0.5 | 0.2
55 | 19/06/2025 14:02:49.810 | 0 | 1.1e-06 | 0 | 0 | 0 | 24.398 | 12.433 | 6.702 | 26.997 | 27.521 | 28.048 | 27.641 | 0 | 26.663 | 28.143 | 0 | 28.117 | 30.315 | 0 | 0 | 72.401 | 1.3 | 0 | 0.1 | 0.1
56 | 19/06/2025 14:02:51.442 | 0 | 1e-06 | 0 | 0 | 0 | 28.207 | 12.431 | 6.67 | 27.169 | 27.514 | 28.039 | 27.617 | 0 | 26.648 | 28.164 | 0 | 28.112 | 30.314 | 0 | 0 | 69.201 | 0.9 | 0.6 | 0 | 0.1
57 | 19/06/2025 14:02:53.074 | 0 | 1.1e-06 | 0 | 0 | 0 | 24.492 | 12.506 | 6.666 | 26.911 | 27.514 | 28.01 | 27.654 | 0 | 26.654 | 27.99 | 0 | 28.102 | 30.302 | 0 | 0 | 73.301 | 1.3 | 0 | 0.6 | 0.2
58 | 19/06/2025 14:02:54.707 | 0 | 1e-06 | 0 | 0 | 0 | 27.028 | 12.281 | 6.667 | 26.619 | 27.52 | 28.054 | 27.64 | 0 | 26.66 | 28.15 | 0 | 28.098 | 30.322 | 0 | 0 | 73.301 | 1.3 | 0 | 0.6 | 0.2
59 | 19/06/2025 14:02:56.338 | 0 | 9.6e-07 | 0 | 0 | 0 | 28.7 | 12.273 | 6.669 | 27.167 | 27.525 | 28.044 | 27.633 | 0 | 26.663 | 28.147 | 0 | 28.073 | 30.319 | 0 | 0 | 65.601 | 1.2 | 0 | 0.7 | 0.2
60 | 19/06/2025 14:02:57.972 | 0 | 9.2e-07 | 0 | 0 | 0 | 26.454 | 12.503 | 6.668 | 27.154 | 27.517 | 28.049 | 27.631 | 0 | 26.659 | 28.137 | 0 | 28.114 | 30.311 | 0 | 0 | 62.601 | 0.9 | 0.6 | 0 | 0.2
61 | 19/06/2025 14:02:59.603 | 0 | 9.9e-07 | 0 | 0 | 0 | 28.533 | 12.501 | 6.668 | 26.951 | 27.539 | 28.039 | 27.613 | 0 | 26.67 | 28.135 | 0 | 28.103 | 30.315 | 0 | 0 | 57.201 | 0.8 | 0.7 | 0.5 | 0.2
62 | 19/06/2025 14:03:01.233 | 0 | 1.1e-06 | 0 | 1 | 1 | 27.855 | 12.509 | 6.668 | 27.01 | 27.501 | 28.021 | 27.657 | 0 | 26.663 | 28.13 | 0 | 28.101 | 30.303 | 0 | 0 | 62.401 | 0.8 | 0 | 0.8 | 0.2
63 | 19/06/2025 14:03:02.864 | 0 | 1e-06 | 1 | 0 | 0 | 24.311 | 12.431 | 6.667 | 26.765 | 27.518 | 28.047 | 27.648 | 0 | 26.654 | 28.132 | 0 | 28.088 | 30.311 | 0 | 0 | 62.401 | 0.8 | 0 | 0.8 | 0.2
64 | 19/06/2025 14:03:04.495 | 0 | 1.1e-06 | 1 | 0 | 0 | 27.332 | 12.273 | 6.666 | 27.096 | 27.525 | 28.045 | 27.65 | 0 | 26.666 | 28.122 | 0 | 28.095 | 30.316 | 0 | 0 | 63.301 | 1.2 | 0 | 0.5 | 0.1
65 | 19/06/2025 14:03:06.127 | 0 | 1e-06 | 0 | 0 | 0 | 28.705 | 12.281 | 6.669 | 26.934 | 27.52 | 28.052 | 27.615 | 0 | 26.653 | 28.133 | 0 | 28.117 | 30.321 | 0 | 0 | 67.301 | 1.9 | 0 | 0 | 0.1
66 | 19/06/2025 14:03:07.758 | 0 | 1.1e-06 | 0 | 0 | 0 | 26.32 | 12.3 | 6.666 | 27.016 | 27.507 | 28.036 | 27.638 | 0 | 26.662 | 27.99 | 0 | 28.102 | 30.312 | 0 | 0 | 63.601 | 0.8 | 0 | 0.8 | 0.1
67 | 19/06/2025 14:03:09.389 | 0 | 1e-06 | 0 | 0 | 0 | 28.642 | 12.508 | 6.668 | 26.872 | 27.525 | 28.032 | 27.644 | 0 | 26.654 | 28.145 | 0 | 28.11 | 30.312 | 0 | 0 | 68.301 | 0.6 | 0 | 1.1 | 0.2
68 | 19/06/2025 14:03:11.021 | 0 | 1.1e-06 | 0 | 0 | 0 | 27.114 | 12.501 | 6.703 | 26.766 | 27.509 | 28.054 | 27.637 | 0 | 26.655 | 28.145 | 0 | 28.069 | 30.318 | 0 | 0 | 61.101 | 1.9 | 0 | 0.1 | 0.2
69 | 19/06/2025 14:03:12.652 | 0 | 1.2e-06 | 0 | 0 | 0 | 24.389 | 12.507 | 6.704 | 27.105 | 27.51 | 28.046 | 27.646 | 0 | 26.657 | 28.158 | 0 | 28.101 | 30.322 | 0 | 0 | 61.101 | 1.9 | 0 | 0.1 | 0.2
70 | 19/06/2025 14:03:14.284 | 0 | 1.2e-06 | 0 | 0 | 0 | 27.972 | 12.506 | 6.704 | 27.175 | 27.497 | 28.038 | 27.611 | 0 | 26.643 | 28.18 | 0 | 28.102 | 30.318 | 0 | 0 | 59.301 | 0.8 | 0 | 0.6 | 0.1
71 | 19/06/2025 14:03:15.916 | 0 | 1.2e-06 | 0 | 0 | 0 | 28.734 | 12.51 | 6.666 | 26.933 | 27.501 | 28.012 | 27.666 | 0 | 26.652 | 28.144 | 0 | 28.1 | 30.291 | 0 | 0 | 59.401 | 2.9 | 0 | 0.7 | 0.1
72 | 19/06/2025 14:03:17.547 | 0 | 1.1e-06 | 0 | 1 | 0 | 27.001 | 12.509 | 6.668 | 26.898 | 27.495 | 28.033 | 27.648 | 0 | 26.629 | 28.169 | 0 | 28.093 | 30.296 | 0 | 0 | 58.601 | 1.4 | 0 | 0.6 | 0.1
73 | 19/06/2025 14:03:19.178 | 0 | 1e-06 | 0 | 0 | 0 | 28.692 | 12.434 | 6.669 | 26.813 | 27.492 | 28.053 | 27.658 | 0 | 26.636 | 28.14 | 0 | 28.071 | 30.319 | 0 | 0 | 59.801 | 1 | 0 | 0.8 | 0.1
74 | 19/06/2025 14:03:20.810 | 0 | 1.1e-06 | 0 | 0 | 0 | 26.444 | 12.504 | 6.669 | 26.952 | 27.494 | 28.059 | 27.62 | 0 | 26.632 | 28.151 | 0 | 28.128 | 30.333 | 0 | 0 | 59.801 | 1 | 0 | 0.8 | 0.1
75 | 19/06/2025 14:03:22.442 | 0 | 1e-06 | 1 | 0 | 0 | 24.695 | 12.501 | 6.667 | 27.058 | 27.516 | 28.031 | 27.624 | 0 | 26.658 | 28.15 | 0 | 28.109 | 30.309 | 0 | 0 | 60.201 | 1.9 | 0 | 0.5 | 0.1
76 | 19/06/2025 14:03:24.074 | 0 | 9.8e-07 | 0 | 1 | 0 | 28.226 | 12.436 | 6.666 | 26.972 | 27.501 | 28.026 | 27.638 | 0 | 26.646 | 28.148 | 0 | 28.105 | 30.293 | 0 | 0 | 65.001 | 0.9 | 0.6 | 0.8 | 0.1
77 | 19/06/2025 14:03:25.706 | 0 | 1e-06 | 0 | 0 | 0 | 24.287 | 12.434 | 6.668 | 26.932 | 27.533 | 28.049 | 27.649 | 0 | 26.667 | 28.144 | 0 | 28.089 | 30.305 | 0 | 0 | 66.601 | 0.6 | 0 | 0.7 | 0.1
78 | 19/06/2025 14:03:27.337 | 0 | 1e-06 | 0 | 0 | 0 | 27.454 | 12.432 | 6.669 | 27.016 | 27.515 | 28.059 | 27.646 | 0 | 26.656 | 28.144 | 0 | 28.081 | 30.327 | 0 | 0 | 70.101 | 0.8 | 0 | 0.6 | 0.1
79 | 19/06/2025 14:03:28.969 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.708 | 12.436 | 6.669 | 27.074 | 27.528 | 28.042 | 27.622 | 0 | 26.652 | 28.144 | 0 | 28.114 | 30.301 | 0 | 0 | 62.901 | 0.1 | 0 | 0.5 | 0.1
80 | 19/06/2025 14:03:30.600 | 0 | 1.1e-06 | 0 | 1 | 0 | 25.922 | 12.51 | 6.667 | 27.042 | 27.524 | 28.028 | 27.634 | 0 | 26.661 | 28.132 | 0 | 28.108 | 30.3 | 0 | 0 | 62.901 | 0.1 | 0 | 0.5 | 0.1
81 | 19/06/2025 14:03:32.231 | 0 | 1.2e-06 | 0 | 0 | 0 | 25.214 | 12.513 | 6.702 | 26.825 | 27.519 | 28.041 | 27.645 | 0 | 26.66 | 28.149 | 0 | 28.113 | 30.331 | 0 | 0 | 71.201 | 1.5 | 0 | 0.6 | 0.1
82 | 19/06/2025 14:03:33.860 | 0 | 1.2e-06 | 0 | 0 | 0 | 27.217 | 12.433 | 6.703 | 26.897 | 27.511 | 28.054 | 27.659 | 0 | 26.657 | 28.13 | 0 | 28.069 | 30.318 | 0 | 0 | 65.301 | 2.4 | 0.6 | 0.8 | 0.1
83 | 19/06/2025 14:03:35.490 | 0 | 1.1e-06 | 0 | 0 | 0 | 24.395 | 12.505 | 6.705 | 26.962 | 27.514 | 28.044 | 27.637 | 0 | 26.658 | 28.126 | 0 | 28.127 | 30.324 | 0 | 0 | 60.001 | 1.8 | 0.1 | 0.5 | 0.1
84 | 19/06/2025 14:03:37.122 | 0 | 1.1e-06 | 0 | 0 | 0 | 27.921 | 12.275 | 6.702 | 26.965 | 27.533 | 28.045 | 27.614 | 0 | 26.664 | 28.121 | 0 | 28.108 | 30.312 | 0 | 0 | 60.601 | 1.1 | 0.6 | 0.8 | 0.1
85 | 19/06/2025 14:03:38.753 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.721 | 12.436 | 6.703 | 26.947 | 27.519 | 28.02 | 27.633 | 0 | 26.654 | 28.116 | 0 | 28.105 | 30.304 | 0 | 0 | 60.601 | 1.1 | 0.6 | 0.8 | 0.1
86 | 19/06/2025 14:03:40.384 | 0 | 1.1e-06 | 0 | 0 | 0 | 25.22 | 12.506 | 6.702 | 26.487 | 27.512 | 28.051 | 27.631 | 0 | 26.652 | 28.136 | 0 | 28.09 | 30.313 | 0 | 0 | 65.401 | 1.5 | 0.7 | 0.6 | 0.2
87 | 19/06/2025 14:03:42.016 | 0 | 1.1e-06 | 1 | 0 | 0 | 25.72 | 12.578 | 6.703 | 27.08 | 27.517 | 28.048 | 27.658 | 0 | 26.643 | 28.134 | 0 | 28.084 | 30.324 | 0 | 0 | 68.901 | 1.3 | 0 | 0 | 0.2
88 | 19/06/2025 14:03:43.647 | 0 | 1.2e-06 | 1 | 0 | 0 | 26.457 | 12.507 | 6.704 | 27.142 | 27.516 | 28.044 | 27.624 | 0 | 26.651 | 28.164 | 0 | 28.102 | 30.312 | 0 | 0 | 62.301 | 0.2 | 0 | 0.5 | 0.2
89 | 19/06/2025 14:03:45.279 | 0 | 1.1e-06 | 0 | 0 | 0 | 24.681 | 12.508 | 6.702 | 26.96 | 27.51 | 28.037 | 27.622 | 0 | 26.654 | 28.135 | 0 | 28.107 | 30.313 | 0 | 0 | 68.201 | 0.6 | 0 | 0.2 | 0.1
90 | 19/06/2025 14:03:46.910 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.218 | 12.434 | 6.72 | 26.927 | 27.504 | 28.022 | 27.638 | 0 | 26.642 | 28.154 | 0 | 28.119 | 30.301 | 0 | 0 | 61.701 | 0.6 | 0 | 0.5 | 0.1
91 | 19/06/2025 14:03:48.557 | 0 | 1.2e-06 | 0 | 0 | 0 | 28.62 | 12.287 | 6.719 | 26.692 | 27.518 | 28.052 | 27.508 | 0 | 26.659 | 28.157 | 0 | 28.076 | 30.32 | 0 | 0 | 61.701 | 0.6 | 0 | 0.5 | 0.1
92 | 19/06/2025 14:03:50.188 | 0 | 1.2e-06 | 0 | 0 | 0 | 24.817 | 12.28 | 6.72 | 27.109 | 27.484 | 28.07 | 27.629 | 0 | 26.637 | 28.156 | 0 | 28.105 | 30.328 | 0 | 0 | 68.501 | 0.7 | 0 | 0.1 | 0.1
93 | 19/06/2025 14:03:51.820 | 0 | 1.2e-06 | 0 | 0 | 0 | 28.73 | 12.276 | 6.718 | 27.144 | 27.512 | 28.049 | 27.637 | 0 | 26.65 | 28.146 | 0 | 28.105 | 30.318 | 0 | 0 | 64.201 | 1.1 | 0.6 | 0 | 0.1
94 | 19/06/2025 14:03:53.450 | 0 | 1.1e-06 | 0 | 1 | 0 | 26.015 | 12.509 | 6.72 | 26.577 | 27.483 | 28.037 | 27.472 | 0 | 26.634 | 28.155 | 0 | 28.108 | 30.319 | 0 | 0 | 68.101 | 1.2 | 0.3 | 0 | 0.1
95 | 19/06/2025 14:03:55.081 | 0 | 1.1e-06 | 0 | 1 | 0 | 25.121 | 12.279 | 6.719 | 27.037 | 27.478 | 28.025 | 27.481 | 0 | 26.651 | 28.153 | 0 | 28.099 | 30.283 | 0 | 0 | 65.401 | 0.8 | 0 | 0.5 | 0.1
96 | 19/06/2025 14:03:56.714 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.445 | 12.43 | 6.719 | 26.723 | 27.503 | 28.055 | 27.491 | 0 | 26.634 | 28.141 | 0 | 28.07 | 30.307 | 0 | 0 | 65.401 | 0.8 | 0 | 0.5 | 0.1
97 | 19/06/2025 14:03:58.345 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.15 | 12.432 | 6.722 | 27.159 | 27.513 | 28.041 | 27.475 | 0 | 26.647 | 28.156 | 0 | 28.12 | 30.328 | 0 | 0 | 68.401 | 0.6 | 0 | 0.6 | 0.2
98 | 19/06/2025 14:03:59.975 | 0 | 1.2e-06 | 0 | 0 | 0 | 27.866 | 12.313 | 6.72 | 27.082 | 27.511 | 28.044 | 27.459 | 0 | 26.642 | 28.15 | 0 | 28.115 | 30.324 | 0 | 0 | 70.801 | 0.1 | 0.6 | 0.6 | 0.2
99 | 19/06/2025 14:04:01.608 | 0 | 1.2e-06 | 0 | 0 | 0 | 28.711 | 12.43 | 6.721 | 27.024 | 27.534 | 28.026 | 27.477 | 0 | 26.652 | 28.154 | 0 | 28.113 | 30.305 | 0 | 0 | 77.001 | 0.7 | 0.6 | 1.1 | 0.2
100 | 19/06/2025 14:04:03.239 | 0 | 1.1e-06 | 0 | 0 | 0 | 25.224 | 12.438 | 6.718 | 26.892 | 27.541 | 28.044 | 27.492 | 0 | 26.675 | 28.14 | 0 | 28.089 | 30.298 | 0 | 0 | 60.901 | 0.8 | 0.7 | 0.8 | 0.2
101 | 19/06/2025 14:04:04.871 | 0 | 1e-06 | 0 | 0 | 0 | 25.712 | 12.506 | 6.721 | 26.929 | 27.529 | 28.06 | 27.473 | 0 | 26.658 | 28.136 | 0 | 28.088 | 30.329 | 0 | 0 | 60.901 | 0.8 | 0.7 | 0.8 | 0.2
102 | 19/06/2025 14:04:06.503 | 0 | 1.1e-06 | 0 | 0 | 1 | 28.53 | 12.503 | 6.72 | 27.123 | 27.521 | 28.046 | 27.476 | 0 | 26.66 | 28.132 | 0 | 28.11 | 30.309 | 0 | 0 | 58.701 | 2.1 | 0 | 1.1 | 0.2
103 | 19/06/2025 14:04:08.134 | 0 | 9.9e-07 | 0 | 0 | 0 | 24.759 | 12.446 | 6.72 | 26.788 | 27.52 | 28.037 | 27.444 | 0 | 26.651 | 28.127 | 0 | 28.118 | 30.327 | 0 | 0 | 72.701 | 1.2 | 0.9 | 0.8 | 0.1
104 | 19/06/2025 14:04:09.766 | 0 | 1e-06 | 0 | 0 | 0 | 28.255 | 12.437 | 6.718 | 27.06 | 27.527 | 28.028 | 27.497 | 0 | 26.661 | 28.127 | 0 | 28.097 | 30.287 | 0 | 0 | 72.001 | 1.5 | 0.2 | 0.5 | 0.1
105 | 19/06/2025 14:04:11.398 | 0 | 9.1e-07 | 0 | 0 | 0 | 28.599 | 12.58 | 6.718 | 26.766 | 27.511 | 28.057 | 27.482 | 0 | 26.66 | 28.128 | 0 | 28.082 | 30.318 | 0 | 0 | 68.701 | 0.8 | 0.6 | 0.9 | 0.1
106 | 19/06/2025 14:04:13.030 | 0 | 9.4e-07 | 0 | 0 | 0 | 24.803 | 12.506 | 6.723 | 26.985 | 27.509 | 28.049 | 27.488 | 0 | 26.646 | 28.131 | 0 | 28.114 | 30.325 | 0 | 0 | 68.401 | 0.2 | 0.1 | 1.4 | 0.1
107 | 19/06/2025 14:04:14.661 | 0 | 1e-06 | 0 | 0 | 0 | 26.191 | 12.579 | 6.719 | 27.025 | 27.525 | 28.042 | 27.465 | 0 | 26.663 | 28.128 | 0 | 28.109 | 30.303 | 0 | 0 | 68.401 | 0.2 | 0.1 | 1.4 | 0.1
108 | 19/06/2025 14:04:16.292 | 0 | 1e-06 | 0 | 0 | 0 | 28.678 | 12.439 | 6.738 | 27.013 | 27.503 | 28.028 | 27.478 | 0 | 26.643 | 28.141 | 0 | 28.101 | 30.312 | 0 | 0 | 71.601 | 0.9 | 0 | 1 | 0.1
109 | 19/06/2025 14:04:17.923 | 0 | 1.1e-06 | 0 | 0 | 0 | 25.079 | 12.435 | 6.735 | 26.948 | 27.52 | 28.033 | 27.501 | 0 | 26.65 | 28.142 | 0 | 28.101 | 30.29 | 0 | 0 | 65.801 | 0.9 | 0 | 0.6 | 0.1
110 | 19/06/2025 14:04:19.553 | 0 | 1e-06 | 1 | 0 | 0 | 28.472 | 12.43 | 6.721 | 26.638 | 27.515 | 28.054 | 27.471 | 0 | 26.647 | 28.157 | 0 | 28.08 | 30.343 | 0 | 0 | 66.301 | 1.9 | 0 | 0 | 0.2
111 | 19/06/2025 14:04:21.183 | 0 | 1e-06 | 0 | 0 | 0 | 28.114 | 12.501 | 6.72 | 26.989 | 27.509 | 28.044 | 27.48 | 0 | 26.65 | 28.151 | 0 | 28.1 | 30.314 | 0 | 0 | 65.401 | 1.7 | 0 | 0.5 | 0.2
112 | 19/06/2025 14:04:22.816 | 0 | 1.1e-06 | 0 | 0 | 0 | 24.422 | 12.507 | 6.72 | 26.967 | 27.509 | 28.038 | 27.456 | 0 | 26.636 | 28.161 | 0 | 28.102 | 30.32 | 0 | 0 | 65.401 | 1.7 | 0 | 0.5 | 0.2
113 | 19/06/2025 14:04:24.446 | 0 | 1.1e-06 | 0 | 0 | 0 | 26.855 | 12.507 | 6.72 | 26.944 | 27.494 | 28.029 | 27.49 | 0 | 26.639 | 28.157 | 0 | 28.114 | 30.296 | 0 | 0 | 61.801 | 0.8 | 0 | 0 | 0.2
114 | 19/06/2025 14:04:26.077 | 0 | 1.1e-06 | 0 | 0 | 0 | 25.239 | 12.583 | 6.718 | 26.948 | 27.493 | 28.049 | 27.487 | 0 | 26.628 | 28.148 | 0 | 28.099 | 30.304 | 0 | 0 | 64.101 | 0.9 | 0.9 | 0 | 0.2
115 | 19/06/2025 14:04:27.708 | 0 | 1.1e-06 | 0 | 0 | 0 | 25.672 | 12.432 | 6.75 | 27.084 | 27.484 | 28.049 | 27.474 | 0 | 26.637 | 28.163 | 0 | 28.086 | 30.328 | 0 | 0 | 60.401 | 1.4 | 0.7 | 1 | 0.2
116 | 19/06/2025 14:04:29.341 | 0 | 1.1e-06 | 0 | 0 | 0 | 28.538 | 12.433 | 6.72 | 27.041 | 27.502 | 28.049 | 27.479 | 0 | 26.651 | 28.147 | 0 | 27.969 | 30.319 | 0 | 0 | 67.401 | 0.8 | 0.1 | 0.2 | 0.2
117 | 19/06/2025 14:04:30.971 | 0 | 1.1e-06 | 0 | 0 | 0 | 27.878 | 12.436 | 6.72 | 26.948 | 27.509 | 28.028 | 27.458 | 0 | 26.649 | 28.149 | 0 | 28.108 | 30.331 | 0 | 0 | 59.201 | 1 | 0 | 0 | 0.2
118 | 19/06/2025 14:04:32.603 | 0 | 1.1e-06 | 0 | 0 | 0 | 24.293 | 12.457 | 6.717 | 26.836 | 27.51 | 28.034 | 27.479 | 0 | 26.657 | 28.154 | 0 | 28.081 | 30.282 | 0 | 0 | 59.201 | 1 | 0 | 0 | 0.2
119 | 19/06/2025 14:04:34.232 | 0 | 1.1e-06 | 0 | 0 | 0 | 27.543 | 12.504 | 6.721 | 26.82 | 27.53 | 28.061 | 27.491 | 0 | 26.645 | 28.14 | 0 | 27.927 | 30.317 | 0 | 0 | 63.001 | 2 | 0 | 0 | 0.2
120 | 19/06/2025 14:04:35.863 | 0 | 1.1e-06 | 1 | 0 | 0 | 24.9 | 12.558 | 6.719 | 26.808 | 27.534 | 28.052 | 27.48 | 0 | 26.667 | 28.148 | 0 | 27.927 | 30.317 | 0 | 0 | 55.501 | 1.1 | 0.6 | 0 | 0.1
121 | 19/06/2025 14:04:37.492 | 0 | 9.4e-07 | 0 | 1 | 0 | 26.142 | 12.437 | 6.72 | 27.155 | 27.506 | 28.046 | 27.464 | 0 | 26.661 | 28.137 | 0 | 27.959 | 30.319 | 0 | 0 | 69.501 | 1.2 | 0 | 0.5 | 0.1
122 | 19/06/2025 14:04:39.124 | 0 | 1e-06 | 0 | 0 | 0 | 28.645 | 12.435 | 6.721 | 27.069 | 27.36 | 28.02 | 27.483 | 0 | 26.669 | 28.147 | 0 | 27.963 | 30.304 | 0 | 0 | 65.501 | 1 | 0 | 0 | 0.2
123 | 19/06/2025 14:04:40.754 | 0 | 9.8e-07 | 0 | 0 | 0 | 27.249 | 12.505 | 6.717 | 26.848 | 27.468 | 28.042 | 27.498 | 0 | 26.654 | 28.113 | 0 | 27.949 | 30.296 | 0 | 0 | 65.501 | 1 | 0 | 0 | 0.2
124 | 19/06/2025 14:04:42.385 | 0 | 9.7e-07 | 0 | 0 | 0 | 24.428 | 12.498 | 6.722 | 26.723 | 27.513 | 28.066 | 27.472 | 0 | 26.647 | 28.121 | 0 | 28.088 | 30.335 | 0 | 0 | 66.501 | 1.3 | 0.6 | 0.8 | 0.2
125 | 19/06/2025 14:04:44.018 | 0 | 1e-06 | 0 | 0 | 0 | 28.22 | 12.434 | 6.719 | 27.177 | 27.361 | 28.051 | 27.491 | 0 | 26.646 | 28.13 | 0 | 28.104 | 30.309 | 0 | 0 | 62.101 | 0.9 | 0.3 | 0.5 | 0.2
126 | 19/06/2025 14:04:45.648 | 0 | 1.1e-06 | 0 | 1 | 0 | 24.408 | 12.505 | 6.721 | 27.021 | 27.35 | 28.048 | 27.442 | 0 | 26.646 | 28.116 | 0 | 28.02 | 30.33 | 0 | 0 | 63.801 | 1.1 | 0.6 | 0.1 | 0.2