## Download Transaksi
Experimental Data of Practice 1: Introduction of Reactor Operation
No | Time | Power NP1000 [kW] | Power NLW2 [kW] | Safety Rod [%] | Compensation Rod [%] | Regulator Rod [%] | Reactor Tank Temp. [°C] | Reactor Tank Level [cm] | Reactor pH [-] | Fuel Element Temp. [°C] | Primary Inlet HE Tube Temp. [°C] | Primary Inlet HE Plat Temp. [°C] | Primary Outlet Temp. [°C] | Primary Flowrate [lpm] | Secondary Inlet HE Tube Temp. [°C] | Secondary Outlet HE Tube Temp. [°C] | Secondary HE Tube Flowrate [lpm] | Secondary Inlet HE Plat Temp. [°C] | Secondary Outlet HE Plat Temp. [°C] | Secondary HE Plat Flowrate [lpm] | Reactor Deck Area [MicroSv/h] | SubCritic Area [MicroSv/h] | Demineralizer Area [MicroSv/h] | Column Thermal Area [MicroSv/h] | Bulkshielding Area [MicroSv/h] | Main Control Room Area [MicroSv/h]
1 | 25/09/2024 09:38:28.359 | 98.904 | 84 | 100 | 70 | 51 | 28.624 | 9.741 | 7.003 | 134.607 | 26.575 | 29.59 | 26.206 | 597.849 | 25.726 | 26.138 | 1313.976 | 28.245 | 28.789 | 36.322 | 0 | 0 | 0 | 0 | 0 | 0
2 | 25/09/2024 09:38:30.086 | 98.952 | 82 | 100 | 70 | 51 | 28.624 | 9.741 | 7.003 | 134.607 | 26.575 | 29.59 | 26.206 | 597.849 | 25.726 | 26.138 | 1313.976 | 28.245 | 28.789 | 36.322 | 0 | 0 | 0 | 0 | 0 | 0
3 | 25/09/2024 09:38:48.858 | 98.88 | 86 | 100 | 70 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0